## Flow Rates
Puck: Version 1.0
| Accel #1 v1.0 | Accel #2 v1.0 | G2 #1 | G2 #2
100 | 3 | 2.55 | 2.68
200 |  | 8.217 | 9.75
300 | 26.25 | 26.467 | 42.417
110 |  |  |  | 2.85
260 |  |  |  | 19.5
300 |  |  |  | 35
6/26/13 Filtration Rate Comparison: SW room filtration
| Accel v1.0 | Accel v1.0-->G2 | Accel v1.1 | Accel v1.1-->G2 | G2 | G2-->G2
100 | 2.1333 | 4.2833 | 0.73333 | 3 | 1.6333 | 4.3833
200 | 4.4667 | 9.5833 |  | 6.5 | 3.4167 | 9.25
300 |  | 14.1667 | 2.2333 | 10 | 5.4167 | 14.3
350 | 8.1333
400 | 9.5 | 19.4167 | 2.9167 | 13.75 | 7.4833 | 19.3833
450 | 11.0833
500 |  | 24.7833 | 3.6667 | 17.7167 | 9.6333 | 24.8333
2013-07-10 | MW water: Filtration Rate comparison
| Accel F3 spacer | Accel F3 no spacer | G2
50 | 2.18 | 2.22 | 1.58
100 | 5.72 | 5.18 | 3
150 | 9.62 | 9 | 5.07
200 | 15 | 13.83 | 7.6
8/27/2013 MW water: Filtration Rate comparison::Water sat 1-2 days
| Accel F4 | Accel F4 | Accel F4 | Accel 4 2nd day | G2 | G2 | G2-2nd Day
50 |  | 0.93333 | 0.96667 | 1.6 | 0.33333 | 0.53333 | 0.26667
100 | 1.4667 | 2 | 1.9 | 3.8167 | 0.76667 | 1.1167 | 0.63333
150 | 2.3333 | 3.0667 |  |  | 1.2 | 1.8 | 0.96667
200 | 3.3333 | 4.45 | 4.55 |  | 1.65 | 2.5167 | 1.3833
250 | 4.4167 | 5.85 | 5.8833 |  | 2.15 | 3.6833 | 1.7833
300 | 5.4667 | 7.4333 | 7.6667 |  | 2.6 | 4.15 | 2.2
350 | 6.95 | 9.1333 | 9.3667 |  | 3.1333 | 4.9167
400 | 8.2333
Issue: Evac volume is more regular. More consistent results. Lots bubble
formation on the top of the fixture that limits flow through the puck.
See filters in notebook.
Last one was worse than this photo.
9/17/2013 MW water: Filtration Rate
| Accel F4-Fixture | Accel F4-fixture | Accel F4-Cartridge | Accel F4-Cartridge | AccelF4+Ti Cartridge | AccelF4+Ti Cartridge | G2
50 | 5 | 0.76667 | 0.8 | 0.93333 | 0.51667 | 0.56667 | 0.65
100 | 12 | 1.85 | 1.75 | 1.7 | 1.1667 | 1.3667 | 1.3833
150 | 17 | 2.85 | 2.8 | 2.7 | 1.9667 | 2.15 | 2.2833
200 |  | 4.1333 | 4.0167 | 3.9167 | 3 | 3.1333 | 3.2833
250 |  | 5.5667 | 5.3833 |  | 3.6667 | 4.2 | 4.4333
270 |  |  |  | 5.9
300 |  | 7.2667 | 7.1 | 6.6833 | 4.6667 | 5.4833 | 5.7667
350 |  | 9 | 9.3667 | 8.4333 | 5.7833 | 6.7667
400 |  | 11 | 10.45 | 10.2167 | 7.0833 | 8.1667
450 |  | 13.3 | 12.55 | 12.4167 | 8.55 | 9.9167
500 |  | 16.0667 | 15 | 14.7833 | 9.9667 | 11.7667 | 12.3

## EVAC
Puck EVAC
Puck Version 1.1
2013-06-25
Evac Type | Residual SW | Volume (filled-afterEVAC) | Volume (Filled-Empty) | PSI | PSI end | Comments
Bladder | 0.454 |  |  | 60 | 48.6 | Lots blowback from intake/exaust removing puck
Bladder | 0.074 | 0.436 | 1.236 | 60 | 48.6
Bladder | 0.111 | 0.334 | 0.456 | 60.5 | 50.8
Bladder | 0.136 | 0.335 | 0.615 | 59.2 | 49.6 | fixture leaked bad seal
Bladder | 0.155 |  |  | 60 |  | fixture leaked bad seal
Bladder | 0.061 |  |  | 60.2 | 50.4
Air (Intake) | 0.067 |  |  | 60.2 | 0.09
0.119
june 10-12 V1.0
| Bladder | Air (Intake | Air-Bladder
| 0.146 | 0.068 | 0.076
| 0.18 | 0.065
0.079
0.147
0.099
0.149
0.149
0.327
| 0.13557 | 0.0665
| Accel V1.0 (F1) | Accel V1.1* (F2) | Accel V1.2 (F3)
Bladder | 0.135 (0.099-0.149, 0.327) | 0.119 (0.061-0.155, 0.454) | 0.061 (0.54-0.07)
Air via Intake | 0.067 | 0.067 | 0.054
Air via Bladder (no Diaphram) | 0.076 | ND | ND

## EVAC-defined Volume
July 31, 2013 Test to see if a defined volume of air at 60psig will clear a puck of seawater (Puck Evac) --0.22um filter.
1/16"X1/8"X1/32" tubing used | Volume =pi*r^2*h | 0.03125 | radius
| hieght inches | volume (in)^3 | volume (ml) |  | STP- amount of air have to put into X volume
yellow | 5 | 0.01534 | 0.25138 |  | to reach 60psig
Green | 10 | 0.03068 | 0.50275
yellow + Green | 15.5 | 0.047554 | 0.77926
pink | 20 | 0.061359 | 1.0055
Red | 30 | 0.092039 | 1.5083
Intake/Exhaust Lines to fixture | 2.375 | 0.0072864 | 0.1194
pink + white | 71 | 0.21783 | 3.5695
Puck Version 1.0 |  | Tubing | Puck | Puck | Puck | Puck Evac | Water | Volume (ml) | Volume Air | Puck Version 4.0 -8/28-29/2013 |  | Tubing | Puck | Puck | Puck | Average | Puck Evac | Water | Volume (ml) | Volume Air
Tubing | Water Source | Volume (ml) | T0 (g) | T-final (g) | delta (g) | PSI (t0) | volume (ml) | STP | (STP-tubing) | EVAC type | Water Source | Volume (ml) | T0 (g) | T-final (g) | delta (g) | resi. Volume | PSI (t0) | volume (ml) | STP | (STP-tubing)
yellow | 100ml seawater | 0.25138 | 11.732 | 11.903 | 0.171 | 60.5 |  | 1.2859 | 1.0346 | Presurized Air- white+pink | di Water | 3.5695 | 16.784 | 16.856 | 0.072 | 0.0755 | 61.8 |  | 18.5761 | 15.0066
green | 100ml seawater | 0.50275 | 11.938 | 12.101 | 0.163 | 60.9 |  | 2.5856 | 2.0828 | Presurized Air- white+pink | di Water | 3.5695 | 16.781 | 16.86 | 0.079 |  | 61 |  | 18.3818 | 14.8123
yellow+green | 100ml seawater | 0.77926 | 11.932 | 12.054 | 0.122 | 60.6 | 0.7 | 3.9917 | 3.2125 | Presurized Air- pink | di Water | 1.0055 | 16.778 | 16.91 | 0.132 | 0.124 | 60.4 |  | 5.1369 | 4.1314
pink | 100ml seawater | 1.0055 | 11.922 | 12.021 | 0.099 | 60.4 | 0.76 | 5.1369 | 4.1314 | Presurized Air- pink | 400ml seawater | 1.0055 | 16.783 | 16.899 | 0.116 |  | 60.6 |  | 5.1506 | 4.1451
red | 100ml seawater | 1.5083 | 11.924 | 12.061 | 0.137 | 60.4 | 0.75 | 7.7054 | 6.1972 | 4 pushes 1.5ml with 3cc syringe | 350ml seawater | 0 | 16.785 | 16.845 | 0.06 | 0.058 |  |  | 0 | 0
red+pink | di Water | 2.5138 | 11.687 | 11.798 | 0.111 | 60.4 |  | 12.8424 | 10.3286 | 4 pushes 1.5ml with 3cc syringe | 350ml seawater | 0 | 16.785 | 16.841 | 0.056 |  |  |  | 0 | 0
red+ pink + puck | di Water | 2.5138 | 11.865 | 12.003 | 0.138 | 61.4 |  | 13.0134 | 10.4996 | Diaphram -pressurized air-pink | 100ml seawater | 1.0055 | 16.783 | 16.838 | 0.055 | 0.0425 | 61.6 |  | 5.219 | 4.2135
Full T- (done 6/10/2013) | di Water | 14 |  |  | 0.068 | 60 |  | 71.1429 | 57.1429 | Diaphram -pressurized air-pink | di Water | 1.0055 | 16.831 | 16.861 | 0.03 |  | 60.4 |  | 5.1369 | 4.1314
4 pushes 1.5ml with 3cc syringe | di Water |  | 11.881 | 11.926 | 0.045 |  |  |  |  | 4 pushes 1.5ml with 3cc syringe in cartridge | 500 ml sw |  | 16.81 | 16.868 | 0.058
4 pushes 1.5ml with 3cc syringe | di Water |  | 11.881 | 11.929 | 0.048 |  |  |  |  | 4 pushes 1.5ml with 3cc syringe in cartridge | 500 ml sw |  | 16.82 | 16.888 | 0.068
4 pushes 1.5ml with 3cc syringe | di Water |  | 11.926 | 11.981 | 0.055
*** Puck Version F1 used. Seawater from SW room. Filtered ~ 100ml per test.
Had difficultly with leaking pucks-- mainly from "bladder" seating both when filtration was intiated and
also in puck evac. Some leaking when bladdar extended too far and prevented seal on orings in fixture.
Results of "leaky" fixtures not reported.
BEST RESULTS with the 4 pushes of 1.5 ml with 3cc Syringe.
The exhaust was open the whole time and short tubing length pointed to waste
Intake was cycled with 2 way stop cock.
Some residual sw out with first push. The build up till 3-4 where the bubble point was broken.
Note on L22: Ax Me: Run 9/17/2013
Note on L23: Ax Me: run 9/17/2013