## Slide 1
Oct 24, 2013
Version 4 puck (not Vapor polished), cut out gasket, blocked gasket port; Vapor polished Cartridge; 20psi sample 300ml Monterey Wharf Water.
Evac: 4 pushes
Delivered 1.5 ml Reagent (water)
Evac: 4 pushes
Issue: After Evac, Reagent is not delivered across filter & does not fill puck chamber.