=>4, 465=>6}

ESPmoe:016:0> pcrDecon; deconSPE :extSrc                 

@13:48:23.01 Cleaning PCR

AFV.select :carrierSolution

@13:48:23.10 delay 2

@13:48:25.11 AS.reconfigure ASconfig

@13:48:25.14 AS.seek 0.500ml

@13:48:54.40 delay 1

@13:48:55.41 AFV.select :holdingCoil

@13:48:55.50 ASV.dial :waste1

@13:48:55.51 ATV.dial :air3

@13:48:56.09 AS.reconfigure ASslow1

@13:48:56.13 AS.seek 0.510ml

@13:48:58.55 ATV.dial :bleach

@13:48:58.94 AS.seek 0.810ml

@13:49:59.60 delay 3

@13:50:02.60 ATV.dial :air3

@13:50:02.97 delay 3

@13:50:06.02 AS.seek 0.835ml

@13:50:11.39 delay 3

@13:50:14.41 ATV.dial :bleach

@13:50:14.82 AS.seek 0.820ml

@13:50:18.19 delay 3

@13:50:21.21 ARV.dial :waste

@13:50:21.63 delay 3

@13:50:24.65 ATV.dial :ARV

@13:50:25.42 AS.reconfigure ASslow2

@13:50:25.46 AS.seek 0.470ml

@13:56:17.45 AFV.select :carrierSolution

@13:56:17.54 delay 2

@13:56:19.55 AS.reconfigure ASconfig

@13:56:19.58 AS.seek 1.000ml

@13:56:50.51 delay 1

@13:56:51.53 AFV.select :holdingCoil

@13:56:51.62 delay 1

@13:56:52.62 AS.reconfigure ASfast

@13:56:52.65 AS.seek 0.000ml

@13:57:21.79 AFV.select :carrierSolution

@13:57:21.88 delay 2

@13:57:23.89 AS.reconfigure ASconfig

@13:57:23.92 AS.seek 1.000ml

@13:58:21.85 delay 1

@13:58:22.87 AFV.select :holdingCoil

@13:58:22.96 delay 1

@13:58:23.96 AS.reconfigure ASfast

@13:58:23.99 AS.seek 0.000ml

@13:58:53.21 AFV.select :carrierSolution

@13:58:53.30 delay 2

@13:58:55.31 AS.reconfigure ASconfig

@13:58:55.34 AS.seek 1.000ml

@13:59:53.25 delay 1

@13:59:54.27 AFV.select :holdingCoil

@13:59:54.36 delay 1

@13:59:55.36 AS.reconfigure ASfast

@13:59:55.39 AS.seek 0.000ml

@14:00:24.64 ARV.dial between carrier and air1

@14:00:25.08 ATV.dial :air3

@14:00:26.09 AS.reconfigure ASslow1

@14:00:26.13 AS.seek 0.010ml

@14:00:28.52 ATV.dial :bleach

@14:00:28.95 AS.seek 0.810ml

@14:03:10.18 delay 3

@14:03:13.19 ATV.dial :air3

@14:03:13.57 delay 3

@14:03:16.63 AS.seek 0.835ml

@14:03:22.08 delay 3

@14:03:25.10 ATV.dial :bleach

@14:03:25.53 AS.seek 0.820ml

@14:03:28.94 delay 3

@14:03:31.96 ATV.dial PCR

@14:03:32.32 AS.reconfigure ASslow2

@14:03:32.37 AS.seek empty

@14:11:32.39 I2C::Request::Timeout in MAIN -- No Response to I2C::Servo::AbsMoveRequest[0E:->2A]

@14:11:32.40 Retry #1 of 3

@14:11:32.44 I2C::UnexpectedReply in core -- I2C::Servo::AbsMoveReply[0E:2A->20] aborted with status:

<enabled=true, pastRLS=false, pastFLS=false, pastThreshold=false, lost=false, home=false, position=241179, velocity=-24, current=-6, pwm=nil, sum=nil, inPress=255, outPress=255, deltaPress=nil, voltage=nil>

@14:17:17.62 PCR.program :bleachProfile

@14:17:17.67 PCR.run 10:00

@14:20:00.39 PCR.temp= 45

@14:20:00.41 AFV.select :carrierSolution

@14:20:00.50 delay 2

@14:20:02.50 AS.reconfigure ASconfig

@14:20:02.53 AS.seek 1.000ml

@14:21:00.49 delay 1

@14:21:01.51 AFV.select :holdingCoil

@14:21:01.61 delay 1

@14:21:02.62 AS.reconfigure ASfast

@14:21:02.65 AS.seek 0.000ml

@14:21:32.11 delay 3

@14:21:35.13 AFV.select :carrierSolution

@14:21:35.23 delay 2

@14:21:37.24 AS.reconfigure ASconfig

@14:21:37.27 AS.seek 1.000ml

@14:22:35.19 delay 1

@14:22:36.20 AFV.select :holdingCoil

@14:22:36.29 delay 1

@14:22:37.29 AS.reconfigure ASfast

@14:22:37.32 AS.seek 0.000ml

@14:23:06.45 delay 3

@14:23:09.47 AFV.select :carrierSolution

@14:23:09.56 delay 2

@14:23:11.56 AS.reconfigure ASconfig

@14:23:11.59 AS.seek 1.000ml

ãÃ@14:24:09.50 delay 1

@14:24:10.50 AFV.select :holdingCoil

@14:24:10.59 delay 1

@14:24:11.59 AS.reconfigure ASfast

@14:24:11.62 AS.seek 0.000ml

@14:24:41.10 delay 3

@14:24:44.12 AFV.select :carrierSolution

@14:24:44.21 delay 2

@14:24:46.21 AS.reconfigure ASconfig

@14:24:46.24 AS.seek 1.000ml

@14:25:44.13 delay 1

@14:25:45.13 AFV.select :holdingCoil

@14:25:45.22 delay 1

@14:25:46.22 AS.reconfigure ASfast

@14:25:46.25 AS.seek 0.000ml

@14:26:15.58 delay 3

@14:26:18.60 AFV.select :carrierSolution

@14:26:18.69 delay 2

@14:26:20.70 AS.reconfigure ASconfig

@14:26:20.73 AS.seek 1.000ml

@14:27:18.66 delay 1

@14:27:19.66 AFV.select :holdingCoil

@14:27:19.75 delay 1

@14:27:20.75 AS.reconfigure ASnorm

@14:27:20.78 AS.seek 0.000ml

@14:28:11.57 PCR.stop

@14:28:11.63 Decon extr
