
	QUOTATION                                                                                                                          
	Date: June 22, 2012
  

	STRAINSERT  COMPANY

	Customer:  Monterey Bay Aquarium Research Inst.

	12 Union Hill Road
	
       Moss Landing, CA

	West Conshohocken, PA19428-2793                                                               
	
      

	Ph: (610) 825-3310 ( Fax: (610) 825-1734
	

	www.strainsert.com


	Customer POC:   Scott Jensen 831-775-2032
      Email:  sjensen@mbari.org

	
	    

	 LOAD CELLS ( LOAD PINS ( FORCE SENSING BOLTS & STUDS ( TENSION LINKS ( INSTRUMENTATION                          

	
	


	In response to your request, we are pleased to provide the following quotation:

	
	
	

	Qty
	Description
	Unit Price

	1
	Clevis Pin, Model (CPRI-FB) Q20355
 12,500 lb. Capacity, 4-20ma

0 = 4 ma   12,500 = 20ma
2 wire loop powered amplifier, 12-28 vdc
3 to 1 Static Factor of Safety based on material UTS

 350 Ohms, Type C Underwater Connector, Radial exit
In accordance with drawing Q20355-100-1-B

	$ 2,500.00

	2
	Cable Assembly; 20 ft., HUMK5CCP-Be8425(20)
Note:   Same as last purchased on P.O. 1010628

  Dated 5/3/10, Strainsert Job #Q-20355
	     265.00

	
	
	

	Total Price: $  3,030.00
Ship Schedule –6 - 7 weeks ARO  

Payment Terms -  Net 30 Days

FOB West Conshohocken, PA

Quote Valid -60 Days
	


Best Regards,

Janet B. Daulerio
jdaulerio@strainsert.com
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