## To Do
To Do LIst
For July 12 | François
Mike
X | Add ballast plate hold down angle
Paul/Gene
X | Add deployment line pad eye
X | Modify LC Clevis for connector
Mount PAR
Mount current meter
X | Fix lock on buoy radio RJ45
X | Drill battery turnbuckles for split ring
X | Install E/M cable (remove floats)
X | Install E/M cable to ESP cable
X | Install E/M cable to elex box cable
X | Install load cell cable
X | Get lead bricks on ESP base
X | Mount xBow on buoy
X | Secure lead bricks on buoy
Gene
X | Calibrate load cell
X | Get 2nd eRadio antenna
Mount xBow in ESP
X | Get quick release(s)
X | Commission electronics box
X | Modify LV VI
Do resonant frequency drop test
X | Meet with Francois
X | Keep Jim C. up to date
Follow up on current meter
Get correct PAR instrument
X | Can and He leak test ESP can
X | Switch NI digitizers
X | Get GPS antenna on buoy xBow
Anyone
X | Weatherproof and secure radio antenna
Add zincs where needed

## Calcs
Load Cell Calcs
| 100 | Shunt Resistor
| 781250 | lbf/A
| Reading in Volts | Current in A | Pounds force
| 0.6246 | 0.006246 | 1754.6875

## Log
2010-07-10
ESP Weight in Air |  | 2136 | lbf | without 14" x 14" Pb plate, with 10 Pb bricks (25 lbf each), No ESP core
Buoy Weight in Air |  | 1212 | lbf | with 8 Pb bricks
ESP Weight in H2O |  | 1221 |  | 12.5" freeboard
2010-07-22
Crossbow Nav440 | SF Quiet message |  | 5555 | 5346 | 0501 | 0001 | 0000 | 4081
|  |  | #NUM! | #NUM! | #NUM! | 1 | 0 | #NUM!