Heterococcolithophorid etc. sample preparation

1) 100 mls of water (flow through system) every 8 hrs. Match to EFM preps.

2) Filter through 2.0 (or whatever size we end up giving you) µm 25mm polycarbonate filter. Add .5 mls of glut to last 25 mls of sample.  No base filter gets used in this situation so there is a potential for a little leakiness but you may get lucky and find a set up that works.

3) Rinse with  D.I. water. Probably a couple of 10 ml rinses will suffice.

4) Take the filter and place it into a labeled glass scintillation vial so that the sample side of the filter is away from the glass.

5) Leave cap off until dry (maybe overnight), then cap. Room temperature storage is fine.

