This is my scoring of the data using the score sheet you sent dated (7/6/00).  

I scored these  by placing the plate on the color chart and looking straight down onto it.

Along with data is the plate reader data

plate 1 650nm            well #                    color score

                                     1-3                          1

                                     4-6                          2

                                     7-9                          5

                                     10-12                      11

plate 2 650nm

                                    1-3                         1

                                     4-6                         2

                                     7                             8

                                     8                             6

                                     9                             4

                                     10-12                     11

plate 1 450nm             well #                    color score

                                    1-5                          1

                                    6-8                          2

                                    9                              4

                                    10-11                      11

                                    12                             8

 plate 2 450nm             well #                    color score

                                       1-3                          1

                                       4-6                          2

                                       7-9                          4

                                       10-11                      11

                                       12                           6

