WHOI 2000 CB  Environmental Standard Curve

 and 12300 A5 Standard Curve

12300 A5 Dilution

Order 1

All curves:

Coefficients:

b[0]
0.0845468887

b[1]
3.6258913883e-3

r ²
0.9954206289

Function Values:

x
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