## Sheet1
Cooling Capacity (BTU/hr) = Surface Area x DT x Q + Internal Heat Load, where Q = 0.62 BTU/hr/ft2/°F (0.2 watts/ft2/°F) for non-metallic enclosures
| A = 389 /144 = 2.7 | = 2.7 ft2
D= 150" = .0125 '
T = 75 F external
Q = .2
| Heat load = 70 W = 238.7 BTU/hr |  | Our box can dissipate 1.569 BTU/hr
40 w = 136.4 BTU/hr