ESP E/M Cable Tear-down,  2/16/12    J.Scholfield      			2/28/12

In recovering a couple of the cone pieces, maybe more, of a well used E/M cable, I documented what I found as I disassembled the parts.  This was the B end. Wiring cavity looked dry with a slight amount of corrosion in the o’ring areas.  Note the darkened Cu wires (2) .

I checked the wires 14” down the wire, only 1 was dark , same as very dark one above.  No shorts to housing.  3”x6-32 removed easily, aqua lube works.

Plenty of water below Morrison as expected.   Still B end.

Slight amount above where shouldn’t be. See below.

FYI- wire hole diameters in installed Morrison approx. .058.  Cast as .070.

B end.

Dark wire, 14” down.  Right of Red.

A end, “gritty” oring and land.   Sl. Corrosion in cavity.  3 of the 3” 6-32’s were frozen in, used Kroil to tease them out the next day.

Big BSR  cable,  Dry!   3 of the long 6-32’s broke off, even after soak overnite in Kroil.