PRESSURE  TEST  FACILITY  IN  BLDG. “B”   EXPANSION – FINISHING  UP

I have a well thought-out overall plan for the room with respect to placement of benches and equipment.

Here is what is still required because no provision for these items were made in the orig. “B” exp. plans and Facilities is short on time and $  for finishing up the new areas.

1. Air Drop – No air drop was provided for the operation of the 2 test chambers.  I need 1 drop in a specified location.  I am arranging to get a quote in the next few days for an outside source to possibly do this.  This is a very simple job on the order of $300.

2. Railings around about ½ of the pit  not covered with a floor. - There are several extra railings available from the test pool project.  John B. said these are available for my use.  Mods and installation should be quite straightforward,  some simple brackets and holes in the concrete.   Facilities has the tools necessary.

3. Partial elevated floor in pit – This would be a non-slip surface flush to the room floor,  probably made of fiberglass.  A support structure would have to be fabricated and a short stairway purchased.  I have estimated approx. $1500 plus my time and some help with some framework  welding if I do this myself.  I have already done about 60% of the layout and planning  for this.  John B. had a quote for the floor and railing to be done by a contractor for approx.    $13,000.       .

4. Fire Cabinet with top work surface.  I think we can get the Safety Office to obtain this.
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