# MARS Events 2015

MOBB attached to port 5 for the entire year.

MOBB Shore Server went down August 25, 2015.

Did not cause outage.  Still gone and might never return.

PHOBOS was attached but powered down.  Recovered June 11, 2015

Hydrophone attached to port 8.  Deployed on July 27, 2015

Fishing Boat Entangled on MARS cable - 2/20/2015.

No damage to cable, boat got free.

Outages:

MARS down

July 10, 2015 for two hours.

Caused by PG&E isolator failure on pole.  Pole caught on fire.

MARS down

July 17, 2015 – July 22, 2015

Scheduled PG&E transformer swap

Took opportunity to swap MARS shore station AC units.

Maintenance on high voltage power supply and measured sea water grounds.

Network to MBARI down

November 14, 2015 – November 16, 2015

Fiber to copper convertor in IS computer room hung due to power change over