## Sheet1
Project
FOCE | ODI on cable
EITS | Double ended oil filled ODI
MOBB | ODI on cable
DEIMOS | ODI on cable
ROVER | ODI on cable
ESP | ODI on 70 meter cable
ACOMMS | ODI on extreme net
LOOKING | ODI on extreme net
BPR/Tilt | ODI on extreme net
SES | ODI 0n 70 meter cable
BMFC | ODI om FM02208-1

## aug_2010_to_July_2013
Port | Deploy | Recover | Project
4 | 2008-10-10 | 2010-01-07 | Sensor's CTD
1 | 2008-12-09 | 2009-01-30 | FOCE | Free-ocean carbon dioxide enrichment experiment
8 | 2009-01-21 | 2009-04-02 | EITS | ORCA's Eye-in-the-Sea
1 | 2009-02-26 | 2010-02-11 | MOBB | Monterey Ocean Bottom Broadband seismometer
7 | 2009-02-27 | 2010-08-18 | DEIMOS | Deep Echo-Integrating Marine Observatory System
8 | 2009-04-13 | 2009-05-21 | EITS | Eye in the Sea
2 | 2009-06-11 | 2009-06-21 | FOCE | Free-ocean carbon dioxide enrichment experiment
3 | 2009-07-07 | 2009-08-11 | ROVER | The benthic rover is a mobile physiology lab
8 | 2009-08-14 | 2010-03-24 | EITS | Eye in the Sea
2 | 2009-09-02 | 2009-11-25 | FOCE | Free-ocean carbon dioxide enrichment experiment
5 | 2009-09-30 | 2009-10-30 | ESP | Deep-Sea Environmental Sample Processor
3 | 2009-10-01 | 2009-12-18 | ROVER
5 | 2009-12-14 | 2010-01-07 | ESP | Deep-Sea Environmental Sample Processor
3 | 2010-02-02 | 2010-10-01 | ACOMMS | Accoustic Communications System testing
1 | 2010-04-07 | 2011-10-26 | LOOKING | The Laboratory for the Ocean Observatory Knowledge INtegration Grid
2 | 2010-04-26 | 2010-05-24 | FOCE | Free-ocean carbon dioxide enrichment experiment
2 | 2010-06-03 | 2010-11-30 | FOCE | Free-ocean carbon dioxide enrichment experiment
7 | 2010-06-30 | 2011-11-28 | BPR/Tilt | High-resolution Bottom Pressure Recorder with high-resolution tiltmeter
| 2010-07-23 | 2010-08-04 | Shore cable down
4 | 2010-10-04 | 2011-09-07 | PHOBOS | Photographic Benthic Observing System
6 | 2010-11-30 | 2011-01-04 | ESP | Deep-Sea Environmental Sample Processor
6 | 2011-04-20 | 2011-10-26 | Tongji Experiment | Test of Long-Term Seafloor Observatory Instruments
2 | 2011-05-04 | 2012-10-08 | FOCE | Free-ocean carbon dioxide enrichment experiment
5 | 2011-06-22 | ongoing | MOBB | Monterey Ocean Bottom Broadband seismometer
3 | 2011-09-07 | 2011-10-12 | SES | Sediment Events Sensor
3 | 2011-10-25 | 2011-11-01 | SES | Sediment Events Sensor
3 | 2011-11-15 | 2011-12-06 | SES | Sediment Events Sensor
6 | 2011-10-27 | 2012-02-01 | BMFC | Benthic Microbial Fuel Cell Project
4 | 2011-11-01 | 2012-10-08 | PHOBOS | Photographic Benthic Observing System
8 | 2012-11-12 | 2013-01-14 | Ghost Buster | In-Situ Calibration: Enhanced Monitoring and Measurement of pH and Redox
6 | 2013-04-08 | 2013-10-29 | ESP | Deep-Sea Environmental Sample Processor
4 | 2013-07-25 | ongoing | PHOBOS | Photographic Benthic Observing System
Items in red are planned
MOBB cable trawled
BMFC Port turned off