MIB File: ROOMALERT24E.MIB
 MIB Module: ROOMALERT24E-MIB
  [OID] alarmmessage
  [OID] avtech
  [OID] digital
  [OID] digital-sen1
  [OID] digital-sen1-1
  [OID] digital-sen1-2
  [OID] digital-sen1-3
  [OID] digital-sen1-4
  [OID] digital-sen1-5
  [OID] digital-sen2
  [OID] digital-sen2-1
  [OID] digital-sen2-2
  [OID] digital-sen2-3
  [OID] digital-sen2-4
  [OID] digital-sen2-5
  [OID] digital-sen3
  [OID] digital-sen3-1
  [OID] digital-sen3-2
  [OID] digital-sen3-3
  [OID] digital-sen3-4
  [OID] digital-sen3-5
  [OID] digital-sen4
  [OID] digital-sen4-1
  [OID] digital-sen4-2
  [OID] digital-sen4-3
  [OID] digital-sen4-4
  [OID] digital-sen4-5
  [OID] digital-sen5
  [OID] digital-sen5-1
  [OID] digital-sen5-2
  [OID] digital-sen5-3
  [OID] digital-sen5-4
  [OID] digital-sen5-5
  [OID] digital-sen6
  [OID] digital-sen6-1
  [OID] digital-sen6-2
  [OID] digital-sen6-3
  [OID] digital-sen6-4
  [OID] digital-sen6-5
  [OID] heat-index
  [OID] humidity
  [OID] internal
  [OID] internal-heat-index
  [OID] internal-heat-indexc
  [OID] internal-humidity
  [OID] internal-tempc
  [OID] internal-tempf
  [OID] products
  [OID] roomalert24e
  [OID] sensors
  [OID] switch
  [OID] switch-sen1
  [OID] switch-sen10
  [OID] switch-sen11
  [OID] switch-sen12
  [OID] switch-sen13
  [OID] switch-sen14
  [OID] switch-sen15
  [OID] switch-sen16
  [OID] switch-sen2
  [OID] switch-sen3
  [OID] switch-sen4
  [OID] switch-sen5
  [OID] switch-sen6
  [OID] switch-sen7
  [OID] switch-sen8
  [OID] switch-sen9
  [OID] temperature
  [OID] traps
  [TRAP] humidityalarm1-24e
  [TRAP] humidityalarm2-24e
  [TRAP] humidityalarm3-24e
  [TRAP] humidityclear1-24e
  [TRAP] humidityclear2-24e
  [TRAP] humidityclear3-24e
  [TRAP] room-alert-24e-snmp-trap
  [TRAP] switchalarm1-24e
  [TRAP] switchalarm2-24e
  [TRAP] switchalarm3-24e
  [TRAP] switchalarm4-24e
  [TRAP] switchalarm5-24e
  [TRAP] switchalarm6-24e
  [TRAP] switchalarm7-24e
  [TRAP] switchalarm8-24e
  [TRAP] switchclear1-24e
  [TRAP] switchclear2-24e
  [TRAP] switchclear3-24e
  [TRAP] switchclear4-24e
  [TRAP] switchclear5-24e
  [TRAP] switchclear6-24e
  [TRAP] switchclear7-24e
  [TRAP] switchclear8-24e
  [TRAP] tempalarm1-24e
  [TRAP] tempalarm2-24e
  [TRAP] tempalarm3-24e
  [TRAP] tempclear2-24e
  [TRAP] tempclear3-24e
  [OID] .1.3.6.1.4.1.20916
  [OID] .1.3.6.1.4.1.20916.1
  [OID] .1.3.6.1.4.1.20916.1.5
  [OID] .1.3.6.1.4.1.20916.1.5.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.1.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.1.1.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.1.1.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.1.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.1.2.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.1.3
  [OID] .1.3.6.1.4.1.20916.1.5.1.1.3.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.1.3.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.1.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.1.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.1.3
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.1.4
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.1.5
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.2.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.2.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.2.3
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.2.4
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.2.5
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.3
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.3.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.3.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.3.3
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.3.4
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.3.5
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.4
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.4.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.4.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.4.3
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.4.4
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.4.5
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.5
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.5.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.5.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.5.3
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.5.4
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.5.5
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.6
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.6.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.6.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.6.3
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.6.4
  [OID] .1.3.6.1.4.1.20916.1.5.1.2.6.5
  [OID] .1.3.6.1.4.1.20916.1.5.1.3
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.1
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.2
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.3
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.4
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.5
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.6
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.7
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.8
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.9
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.10
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.11
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.12
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.13
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.14
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.15
  [OID] .1.3.6.1.4.1.20916.1.5.1.3.16
  [OID] .1.3.6.1.4.1.20916.1.5.2
  [OID] .1.3.6.1.4.1.20916.1.5.2.1
  [TRAP] .1.3.6.1.4.1.20916.1.5.1
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.1
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 1
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 1
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:1
  [TRAP] .1.3.6.1.4.1.20916.1.5.2
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.2
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 2
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 2
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:2
  [TRAP] .1.3.6.1.4.1.20916.1.5.3
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.3
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 3
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 3
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:3
  [TRAP] .1.3.6.1.4.1.20916.1.5.4
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.4
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 4
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 4
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:4
  [TRAP] .1.3.6.1.4.1.20916.1.5.5
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.5
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 5
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 5
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:5
  [TRAP] .1.3.6.1.4.1.20916.1.5.6
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.6
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 6
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 6
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:6
  [TRAP] .1.3.6.1.4.1.20916.1.5.7
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.7
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 7
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 7
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:7
  [TRAP] .1.3.6.1.4.1.20916.1.5.8
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.8
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 8
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 8
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:8
  [TRAP] .1.3.6.1.4.1.20916.1.5.9
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.9
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 9
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 9
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:9
  [TRAP] .1.3.6.1.4.1.20916.1.5.10
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.10
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 10
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 10
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:10
  [TRAP] .1.3.6.1.4.1.20916.1.5.11
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.11
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 11
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 11
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:11
  [TRAP] .1.3.6.1.4.1.20916.1.5.12
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.12
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 12
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 12
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:12
  [TRAP] .1.3.6.1.4.1.20916.1.5.13
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.13
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 13
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 13
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:13
  [TRAP] .1.3.6.1.4.1.20916.1.5.14
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.14
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 14
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 14
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:14
  [TRAP] .1.3.6.1.4.1.20916.1.5.15
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.15
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 15
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 15
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:15
  [TRAP] .1.3.6.1.4.1.20916.1.5.16
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.16
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 16
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 16
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:16
  [TRAP] .1.3.6.1.4.1.20916.1.5.17
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.17
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 17
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 17
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:17
  [TRAP] .1.3.6.1.4.1.20916.1.5.18
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.18
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 18
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 18
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:18
  [TRAP] .1.3.6.1.4.1.20916.1.5.19
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.19
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 19
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 19
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:19
  [TRAP] .1.3.6.1.4.1.20916.1.5.20
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.20
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 20
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 20
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:20
  [TRAP] .1.3.6.1.4.1.20916.1.5.21
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.21
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 21
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 21
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:21
  [TRAP] .1.3.6.1.4.1.20916.1.5.22
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.22
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 22
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 22
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:22
  [TRAP] .1.3.6.1.4.1.20916.1.5.23
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.23
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 23
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 23
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:23
  [TRAP] .1.3.6.1.4.1.20916.1.5.24
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.24
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 24
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 24
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:24
  [TRAP] .1.3.6.1.4.1.20916.1.5.25
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.25
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 25
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 25
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:25
  [TRAP] .1.3.6.1.4.1.20916.1.5.26
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.26
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 26
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 26
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:26
  [TRAP] .1.3.6.1.4.1.20916.1.5.27
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.27
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 27
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 27
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:27
  [TRAP] .1.3.6.1.4.1.20916.1.5.28
  [NOTIFICATION] .1.3.6.1.4.1.20916.1.5.0.28
  [TRAP] .1.3.6.1.4.1.20916.1.5 6 28
  [TRAP] .1.3.6.1.4.1.20916.1.5 enterpriseSpecific 28
  [TRAP] .1.3.6.1.4.1.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:28
  [OID] enterprises.20916
  [OID] enterprises.20916.1
  [OID] enterprises.20916.1.5
  [OID] enterprises.20916.1.5.1
  [OID] enterprises.20916.1.5.1.1
  [OID] enterprises.20916.1.5.1.1.1
  [OID] enterprises.20916.1.5.1.1.1.1
  [OID] enterprises.20916.1.5.1.1.1.2
  [OID] enterprises.20916.1.5.1.1.2
  [OID] enterprises.20916.1.5.1.1.2.1
  [OID] enterprises.20916.1.5.1.1.3
  [OID] enterprises.20916.1.5.1.1.3.1
  [OID] enterprises.20916.1.5.1.1.3.2
  [OID] enterprises.20916.1.5.1.2
  [OID] enterprises.20916.1.5.1.2.1
  [OID] enterprises.20916.1.5.1.2.1.1
  [OID] enterprises.20916.1.5.1.2.1.2
  [OID] enterprises.20916.1.5.1.2.1.3
  [OID] enterprises.20916.1.5.1.2.1.4
  [OID] enterprises.20916.1.5.1.2.1.5
  [OID] enterprises.20916.1.5.1.2.2
  [OID] enterprises.20916.1.5.1.2.2.1
  [OID] enterprises.20916.1.5.1.2.2.2
  [OID] enterprises.20916.1.5.1.2.2.3
  [OID] enterprises.20916.1.5.1.2.2.4
  [OID] enterprises.20916.1.5.1.2.2.5
  [OID] enterprises.20916.1.5.1.2.3
  [OID] enterprises.20916.1.5.1.2.3.1
  [OID] enterprises.20916.1.5.1.2.3.2
  [OID] enterprises.20916.1.5.1.2.3.3
  [OID] enterprises.20916.1.5.1.2.3.4
  [OID] enterprises.20916.1.5.1.2.3.5
  [OID] enterprises.20916.1.5.1.2.4
  [OID] enterprises.20916.1.5.1.2.4.1
  [OID] enterprises.20916.1.5.1.2.4.2
  [OID] enterprises.20916.1.5.1.2.4.3
  [OID] enterprises.20916.1.5.1.2.4.4
  [OID] enterprises.20916.1.5.1.2.4.5
  [OID] enterprises.20916.1.5.1.2.5
  [OID] enterprises.20916.1.5.1.2.5.1
  [OID] enterprises.20916.1.5.1.2.5.2
  [OID] enterprises.20916.1.5.1.2.5.3
  [OID] enterprises.20916.1.5.1.2.5.4
  [OID] enterprises.20916.1.5.1.2.5.5
  [OID] enterprises.20916.1.5.1.2.6
  [OID] enterprises.20916.1.5.1.2.6.1
  [OID] enterprises.20916.1.5.1.2.6.2
  [OID] enterprises.20916.1.5.1.2.6.3
  [OID] enterprises.20916.1.5.1.2.6.4
  [OID] enterprises.20916.1.5.1.2.6.5
  [OID] enterprises.20916.1.5.1.3
  [OID] enterprises.20916.1.5.1.3.1
  [OID] enterprises.20916.1.5.1.3.2
  [OID] enterprises.20916.1.5.1.3.3
  [OID] enterprises.20916.1.5.1.3.4
  [OID] enterprises.20916.1.5.1.3.5
  [OID] enterprises.20916.1.5.1.3.6
  [OID] enterprises.20916.1.5.1.3.7
  [OID] enterprises.20916.1.5.1.3.8
  [OID] enterprises.20916.1.5.1.3.9
  [OID] enterprises.20916.1.5.1.3.10
  [OID] enterprises.20916.1.5.1.3.11
  [OID] enterprises.20916.1.5.1.3.12
  [OID] enterprises.20916.1.5.1.3.13
  [OID] enterprises.20916.1.5.1.3.14
  [OID] enterprises.20916.1.5.1.3.15
  [OID] enterprises.20916.1.5.1.3.16
  [OID] enterprises.20916.1.5.2
  [OID] enterprises.20916.1.5.2.1
  [TRAP] enterprises.20916.1.5.1
  [NOTIFICATION] enterprises.20916.1.5.0.1
  [TRAP] enterprises.20916.1.5 6 1
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 1
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:1
  [TRAP] enterprises.20916.1.5.2
  [NOTIFICATION] enterprises.20916.1.5.0.2
  [TRAP] enterprises.20916.1.5 6 2
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 2
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:2
  [TRAP] enterprises.20916.1.5.3
  [NOTIFICATION] enterprises.20916.1.5.0.3
  [TRAP] enterprises.20916.1.5 6 3
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 3
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:3
  [TRAP] enterprises.20916.1.5.4
  [NOTIFICATION] enterprises.20916.1.5.0.4
  [TRAP] enterprises.20916.1.5 6 4
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 4
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:4
  [TRAP] enterprises.20916.1.5.5
  [NOTIFICATION] enterprises.20916.1.5.0.5
  [TRAP] enterprises.20916.1.5 6 5
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 5
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:5
  [TRAP] enterprises.20916.1.5.6
  [NOTIFICATION] enterprises.20916.1.5.0.6
  [TRAP] enterprises.20916.1.5 6 6
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 6
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:6
  [TRAP] enterprises.20916.1.5.7
  [NOTIFICATION] enterprises.20916.1.5.0.7
  [TRAP] enterprises.20916.1.5 6 7
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 7
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:7
  [TRAP] enterprises.20916.1.5.8
  [NOTIFICATION] enterprises.20916.1.5.0.8
  [TRAP] enterprises.20916.1.5 6 8
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 8
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:8
  [TRAP] enterprises.20916.1.5.9
  [NOTIFICATION] enterprises.20916.1.5.0.9
  [TRAP] enterprises.20916.1.5 6 9
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 9
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:9
  [TRAP] enterprises.20916.1.5.10
  [NOTIFICATION] enterprises.20916.1.5.0.10
  [TRAP] enterprises.20916.1.5 6 10
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 10
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:10
  [TRAP] enterprises.20916.1.5.11
  [NOTIFICATION] enterprises.20916.1.5.0.11
  [TRAP] enterprises.20916.1.5 6 11
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 11
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:11
  [TRAP] enterprises.20916.1.5.12
  [NOTIFICATION] enterprises.20916.1.5.0.12
  [TRAP] enterprises.20916.1.5 6 12
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 12
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:12
  [TRAP] enterprises.20916.1.5.13
  [NOTIFICATION] enterprises.20916.1.5.0.13
  [TRAP] enterprises.20916.1.5 6 13
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 13
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:13
  [TRAP] enterprises.20916.1.5.14
  [NOTIFICATION] enterprises.20916.1.5.0.14
  [TRAP] enterprises.20916.1.5 6 14
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 14
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:14
  [TRAP] enterprises.20916.1.5.15
  [NOTIFICATION] enterprises.20916.1.5.0.15
  [TRAP] enterprises.20916.1.5 6 15
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 15
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:15
  [TRAP] enterprises.20916.1.5.16
  [NOTIFICATION] enterprises.20916.1.5.0.16
  [TRAP] enterprises.20916.1.5 6 16
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 16
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:16
  [TRAP] enterprises.20916.1.5.17
  [NOTIFICATION] enterprises.20916.1.5.0.17
  [TRAP] enterprises.20916.1.5 6 17
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 17
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:17
  [TRAP] enterprises.20916.1.5.18
  [NOTIFICATION] enterprises.20916.1.5.0.18
  [TRAP] enterprises.20916.1.5 6 18
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 18
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:18
  [TRAP] enterprises.20916.1.5.19
  [NOTIFICATION] enterprises.20916.1.5.0.19
  [TRAP] enterprises.20916.1.5 6 19
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 19
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:19
  [TRAP] enterprises.20916.1.5.20
  [NOTIFICATION] enterprises.20916.1.5.0.20
  [TRAP] enterprises.20916.1.5 6 20
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 20
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:20
  [TRAP] enterprises.20916.1.5.21
  [NOTIFICATION] enterprises.20916.1.5.0.21
  [TRAP] enterprises.20916.1.5 6 21
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 21
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:21
  [TRAP] enterprises.20916.1.5.22
  [NOTIFICATION] enterprises.20916.1.5.0.22
  [TRAP] enterprises.20916.1.5 6 22
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 22
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:22
  [TRAP] enterprises.20916.1.5.23
  [NOTIFICATION] enterprises.20916.1.5.0.23
  [TRAP] enterprises.20916.1.5 6 23
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 23
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:23
  [TRAP] enterprises.20916.1.5.24
  [NOTIFICATION] enterprises.20916.1.5.0.24
  [TRAP] enterprises.20916.1.5 6 24
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 24
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:24
  [TRAP] enterprises.20916.1.5.25
  [NOTIFICATION] enterprises.20916.1.5.0.25
  [TRAP] enterprises.20916.1.5 6 25
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 25
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:25
  [TRAP] enterprises.20916.1.5.26
  [NOTIFICATION] enterprises.20916.1.5.0.26
  [TRAP] enterprises.20916.1.5 6 26
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 26
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:26
  [TRAP] enterprises.20916.1.5.27
  [NOTIFICATION] enterprises.20916.1.5.0.27
  [TRAP] enterprises.20916.1.5 6 27
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 27
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:27
  [TRAP] enterprises.20916.1.5.28
  [NOTIFICATION] enterprises.20916.1.5.0.28
  [TRAP] enterprises.20916.1.5 6 28
  [TRAP] enterprises.20916.1.5 enterpriseSpecific 28
  [TRAP] enterprises.20916.1.5 generic-trap:enterpriseSpecific(6) specific-trap:28