## Sheet1
MARS LAB BLDG D 115 VAC POWER REQUIREMENTS | AMPS | NOTES
Rack 1 Front
EDFA West and East | 1 | .5A and 30W P/S
Network Optronics #1 | 3.5
Network Optronics #2 | 3.5
MRA91-01 Cisco Catalyst 3750 | 2.3
MRA91-02 Cisco Catalyst 3750 | 2.3
Sia91-1 Cisco Catalyst 3500 Series XL | 1
Sia91-3 Cisco Catalyst 3500 Series XL | 1
WTI ( www.wti.com ) SCM-16 | 0.04 | Manual spec = 5 Watts
End Run Technoligies Unison Time Server | 0.5
OC Sail West | 0.25
OC Sail East | 0.25
PMACS WNS hp ProLiant DL360 G5 | 7
( APC Smart UPS 3000 )
Rack 1 Rear
Wall Wart (EDFA) | 0.5
Wall Wart (EDFA) | 0.5
Wall Wart ( KVM Switch ) | 0.3
Rack 2 Front
ADC FL2000 Termination/Splice Panel
Monitor PMACS Server Samsung SyncMaster 191Tplus | 0.5
Meingerg LANTIME M600 | 2
PMACS Server hp ProLiant DL360G5 | 9
WNS - MRA 91-1 Lantech IGS-5424 | 0.3 | 30 Watts
WNS Router Cisco | 2.3
MARS DCS hp ProLiant DL360p Gen 8 | 4.5
Synology RAID DS1618+ | 0.6 | 57 Watts
Lantech IGS-5424 | 0.3
Lantech IGS-5424 | 0.3
New MARS Router Cisco | 2.3
( APC Smart UPS 1500 )
Rack 2 Rear
CNS Systems, CNS Clock II | 0.03 | Wall wart 9-30VDC @ 250 mA
Wall Warts, 13 each, assume 0.5 A per unit | 6.5
Rack 3 Front
MARVIN hp Z420 Workstation | 6
Laptop Dell 10.91.42.3 Intel Core i5 7th Gen (EPS-SGL) | 0.5 | 45 Watt P/S
LUCIANA MBARI-1684 | 4 | 350 Watts
SOUNDSCAPE hp Z440 | 7
I_HEAR_YOU hp ProLiant DL360G6 | 5
( Tripp-Lite SmartPro UPS )
Rack 3 Rear
Wall Wart | 0.3
Rack 4 Front
Monitor hp LP2465 | 1
New PMACS hp ProLiant DL360G6 | 5
PMACS Console hp ProLiant DL360G6 | 5
10.91.128.253 hp ProLiant DL360G6 | 5
MARSTECH PC hp ProLiant DL360G5 | 7
MBARI - 1456 Hurricane hp ProLiant DL360G5 | 7
HAWKSBILL hp ProLiant DL360G5 | 7
( Tripp-Lite SmartPro UPS )
Rack 4 Rear
Wall Wart , 3 each, assume 0.5 A per unit | 1.5
TOTAL 110 VAC Amps | 113.87