MARS Prelim instrument checklist

Inspect mechanical

tight bolts

housings tight

strain relief tether

With power off, put in tank

Run MARS PMACS CONSOLE.exe

Science Nodes

External Loads

allow system to scan for ground faults

Prepare scope to capture inrush current

Turn on power

If inrush too high, insert resistor in power path

Resistor will need to go in the client's housings

Verify network communications