## MARS FC-77 MV Housing Draining Procedure Fluid & Gas Transfer System Questions/Issues

- The diagram that accompanies the document does not have items labeled to match the instructions.

- The housing relief value would just vent to the air/floor.

- No gauges are shown for the Receiver Drum or purge trap assembly but the instructions indicate to monitor the pressure at these points.

- Who is the Chemist and engineer referred to in the procedure

- Was a specific spill kit identified?  (MBARI’s normal spill kits can not be used with fluorinated materials)