MARS Status April 28, 2009
Please review the Future deployment list to ensure it has captured all the ongoing or previous communications with potential users.

Current Experiments

1. MOBB on port 1

2. Sensor Group on port 4

3. EK60 on port 7

4. EITS on port 8

Issues

Interaction EITS/EK60
The EK60 shows what appears to be noise when the EITS is software turned off but still powered on.  There does not appear to be an issue when the EITS is operating normally.
MOBB Cable/ground fault
Next step is an inspection dive on May 22nd.
MARS lab air conditioning
Facilities purchased a higher capacity unit.  The unit is out for environmental coating to prevent corrosion.  Day Electric has already installed the new power outlet.
High voltage safety
Need to develop an appropriate safety procedure for both the EOI and the MARS lab.
Interface cables/ODI connectors
Ken, Craig and Gene will work with ODI to ensure proper connectors are quoted to MARS customers.
Cable recommendation will be developed to provide to MARS customers.
New web form to replace word document questionnaire
Most of the conversion already has been done by Teresa.  Once implemented, a copy of the questionnaire will be mailed to the MARS O&M mail list.
WNS PC104 stack issues
Still having problems with the A/D convertor modules.

MARS O&M mailing list corrections.

Mandy will get Pete and Teresa added to the list and the list converted to a listserver.
CISCO security changes
Pete needs the changes reviewed and then the go ahead to 

install them.  Question for Pete, do you want to first install on the WNS or go directly onto MARS?

Need for user communications
Some form of a general MARS communications/status for users or other interested parties seems appropriate.  

MV Converter
Earliest arrival would be late June, but could be later.  Keith will work schedule so that the MARS unit comes up after the other units being produced.  The delay will allow MBARI to draw upon someone else’s experience.

EOI Power Fail
Occurred Friday evening.  
Future deployments

FOCE
5/20/2009
Connect to port 2
Peter Brewer
Rover

8/6/2009
Ken Smith

Acoustic Communications Base Station for MARS
10/28/2009
Lee Freitag @WHOI
BPR/Tilt instrument for MARS
11/4/2009
Bill Chadwick @NOAA

Scott Stalin @NOAA/PMEL

ESP
After August 2009
Chris Scholin
Aloha-MARS
Summer 2010

Bruce Howe @UH

Currently in the NSF application process
Chinese MARS Node

Dejun Li @Zhejiang University, China
In-situ calibrator for ph measurement
Kang @Dept of Geology and Geophysics, Univ of Minnesota
