MARS Status April 13, 2010
Current Experiments - 2
· ACOMMS on port 3
· EK60 on port 6 – but turned off
Issues
MOBB 
MOBB site was where last trawl event occurred.  Current sensor and MOBB frame damaged.  3.6 km cable was ripped off.  Recovery for the MOBB cable will have to be scheduled.  
MARS Lab UPS
The MARS lab UPS is marginally powered.  The new UPS has been received.  Need to schedule change over when time permits.  Probably be done when new servers are installed.
EOI Door Sensor

The contractor installed and wired most of the hardware necessary for monitoring the door switch at the end of the island.  He had to take some of the cards back for programming.  More time will need to be scheduled to finish the job.
LOOKING
Looking was deployed on April 7th.  Only problem was with the 1 PPS.  LOOKING is unable to lock onto the 1 PPS signal.  As LOOKING worked on the WNS (see below) it is implied LOOKING has reversed 1 PPS lines.
WNS

WNS was checked for 1 PPS operation and (among other things) the 1 PPS lines were reversed.  Cabling to the 1 PPS module has been changed to minimize the chance of broken wires.  Debug efforts on GFD continuing.  WNS verification tools being put in place.

Port Test Tool (PTT)

The PTT is being redesigned to enhance its current capabilities and add some new ones.  Changes are being driven by experience working with MARS.

FOCE

The FOCE deployment was weathered out and has been rescheduled for 4/26/2010

Future deployments/recoveries
MARS Cable Survey

Started 1/8/2010
ACOMMS
Recover 8/23/2010
Port 3
Lee Freitag @WHOI
FOCE

Deploy 4/8/2010 4/26/2010
Recover August 22nd
Will attach to port 2

LOOKING
Recover 9/30/2010
Port 1
John Orcutt @UCSD

EK60

Unit was turned back on after LOOKING deployment.  First indication was that the unit could function.
BPR/Tilt instrument for MARS
Deploy 6/30/2010
Recover 12/14/2010
Will attach to port 7

Bill Chadwick @NOAA

Scott Stalin @NOAA/PMEL

ESP

Deploy 11/30/2010

Recover – Not known yet

Will attach to port ?

Large Aperture Array

2011
NPS

Chinese MARS Node

Dejun Li @Zhejiang University, China

Application is in to NSF.  Plan to be on MARS for 3 months.
SAIC – Naval Hydrodynamics Division
Have expressed an interest in connecting to MARS from November 2010 until February 2011.
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