MARS Status December 14, 2010
Current Experiments – 4
· LOOKING on port 1

· PHOBOS on port 4

· ESP on port 6

· BPR/Tilt on port 7

Issues
FOCE

Recovered 11/30/2010
MARS West Gb Link is Down

The link is still down but the East link is running without errors.  Debug efforts will be scheduled again soon.
MARS EOI Maintenance

Several items need to be addressed at the EOI:

1. Sea water ground check

2. Power supply maintenance

3. UPS service

Currently the October/November time frame looks best.

EOI Door Sensor

Still waiting for install to be re-scheduled
MOBB 
Recovered old MOBB cable 12/13/2010.  The deployment of new cable is expected to be in early 2011.  (Deploy April 6 & 7)
ROV Trenching Tool

Testing of the ROV trenching tool to lay a cable went well but need to add tensioning indicator.
Port Test Tool (PTT)

The PTT is being redesigned to enhance its current capabilities and add some new ones.  Changes are being driven by experience working with MARS.  Targeting January 2011 for WNS testing.
Neptune web write up on MARS

Monterey Accelerated Research System (USA)

The Monterey Accelerated Research System (MARS) is a cabled ocean observatory planned for installation on the seafloor in Monterey Canyon off the California coast. The MARS science node will be installed on the seafloor at a depth of 891 meters (2,923 feet), on a broad, muddy platform called Smooth Ridge. MARS is an initiative of the Monterey Bay Aquarium Research Institute (MBARI).

ESP Shutdown

48 volt current flow to the ESP went to 0 on 12/2/1010.  It came back on 12/8/2010.  The reason for either event occurring is unknown.  For the failure to have been in ESP, a wired connection or a fuse/holder would have to be the cause.  ESP operation (from a power point of view) has been fine since the 8th.

Future deployments/recoveries
FOCE

Deployment date unknown
Port 2

LOOKING
Recover January 28, 2011
Port 1

John Orcutt @UCSD

ESP

Recover 1/31/2011
Port 6
BPR/Tilt instrument for MARS
Recover June 28, 2011
Port 7

Bill Chadwick @NOAA

Scott Stalin @NOAA/PMEL

University of Minnesota

Deploy 9/29/2011

Recover 12/19/2011
Port 8
Funding not yet established.

Large Aperture Array

2012 maybe
NPS
MOBB

Lay new cable 4/6/2011 & 4/7/2011
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