MARS Status January 5, 2010
Current Experiments - 7
· MOBB on port 1
· Sensor Group on port 4

· ESP on port 5

· EK60 on port 6
· EITS on port 8
Issues
MARS High Voltage Issue

Currently, no problems are occurring.  However, the problem is still there. 
Voltronics

Spare unit has broken local/remote switch and no db25.  Repair time at Voltronics would be 8-10 weeks after evaluation.  Evaluation would not happen until January due to holidays.  Looking into acquiring another PS (rental, lease. loaner, buy).
Ricketts Ability to Service MARS

Need to look at Ventana tools developed for MARS access.  
EK60

EK60 date still not decided.  
MV Converter

Expecting delivery of the P4 MVC in the December/January February timeframe.

Interface cables/ODI connectors/adapter assembly

Still waiting for the adapter cables to arrive.
CISCO security changes

Installed on WNS but not the MARS node itself.   Need to address testing issues but otherwise seems to be working well.
MARS Cable/Cable Delivery System Test

New delivery system appeared to work fine.  Cable had taken a set and did not deploy smoothly.  Network test of cable was not completed due to technical error.
Future deployments/recoveries
ESP
Recover 1/22/2010 1/07/2010
Chris Scholin

Sensor Group (CTD)

Recover 1/7/2010 

end of an era but don’t worry, it’s a Phoenix
MARS Cable Survey

Starts 1/7/2010 1/8/2010
Acoustic Communications Base Station for MARS
Deploy 2/2/2010
Recover 8/23/2010
Lee Freitag @WHOI
FOCE

Deploy 3/9/2010

Recover ??

LOOKING (was OBS Seismometer)

Deploy 3/9/2010. 3/11/2010
Recover 9/30/2010
John Orcutt @UCSD

EITS

Recover 3/24/2010

BPR/Tilt instrument for MARS
Deploy 6/30/2010
Recover 12/14/2010

Bill Chadwick @NOAA

Scott Stalin @NOAA/PMEL

Large Aperture Array

2011
NPS

Chinese MARS Node

Dejun Li @Zhejiang University, China

Application is in to NSF.  Plan to be on MARS for 3 months.
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