MARS Status May 11, 2010
Current Experiments – 4
· LOOKING on port 1

· FOCE on port 2

· ACOMMS on port 3
· EK60 on port 6
Issues
Power Outage
Friday’s power shutdown caused no problems.
MARS Lab UPS
Cut in completed.  Changeover caused ~20 minutes of network outage total.
Backup Air Conditioning

Backup unit kept internal MARS rack temperature at 73 degrees (3 degrees cooler than normal).
EOI Door Sensor

Still waiting for facilities/contractor to complete work.
MOBB 
Recovery for the MOBB cable to be scheduled?
LOOKING
Looking was deployed on April 7th.  It appears that LOOKING has reversed 1 PPS lines.  Next step?
Port Test Tool (PTT)

The PTT is being redesigned to enhance its current capabilities and add some new ones.  Changes are being driven by experience working with MARS.  Targeted August 2010
FOCE

The FOCE recovery is currently scheduled for May 28, 2010.
PHOBOS

Looking at a potential June deployment.

Future deployments/recoveries
FOCE

Recover 5/28/2010

Deploy 6/3/2010

Port 2

MARS Cable Survey

Started 1/8/2010
ACOMMS
Recover 8/23/2010
Port 3
Lee Freitag @WHOI
LOOKING
Recover 9/30/2010
Port 1
John Orcutt @UCSD

EK60

Recover 12/16/2010

Port 6

John Horne @UW

BPR/Tilt instrument for MARS
WNS testing week of 6/16/2010

Deploy 6/30/2010
Recover 12/15/2010
Will attach to port 7

Bill Chadwick @NOAA

Scott Stalin @NOAA/PMEL

ESP

Deploy 11/30/2010

Recover – Not known yet

Will attach to port ?

Large Aperture Array

2011
NPS

Chinese MARS Node

Dejun Li @Zhejiang University, China

Application is in to NSF.  Plan to be on MARS for 3 months.
SAIC – Naval Hydrodynamics Division
Have expressed an interest in connecting to MARS from November 2010 until February 2011.
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