MARS Status October 05, 2010
Current Experiments – 4
· LOOKING on port 1

· FOCE on port 2

· PHOBOS on port 4

· BPR/Tilt on port 7

Issues
ACOMMS

Recovered October 1, 2010
MARS Fiber Cable
The pull boxes have been sealed with the exception of the one underneath the sea lion office.
MARS West Gb Link is Down

The link is still down but the East link is running without errors.  Debug efforts will be scheduled again soon.
MARS EOI Maintenance

Several items need to be addressed at the EOI:

1. Sea water ground check

2. Power supply maintenance

3. UPS service

Currently the October/November time frame looks best.

EOI Door Sensor

Still waiting for install to be re-scheduled
MOBB 
Recovery of the MOBB cable not currently scheduled.  The deployment of new cable is expected to be in early 2011.
ROV Trenching Tool

Testing of the ROV trenching tool is planned for November 15th and 16th 2010.
Port Test Tool (PTT)

The PTT is being redesigned to enhance its current capabilities and add some new ones.  Changes are being driven by experience working with MARS.  Targeted August 2010
PHOBOS

Phobos successfully deployed October 4, 2010
Future deployments/recoveries
FOCE

Recover 2011 ??
Port 2

LOOKING
Recover Mid to late January 2011
Port 1

John Orcutt @UCSD

ACOMMS
Recovered 10/1/2010
Port 3
Lee Freitag @WHOI
ESP

Deploy 11/30/2010

Recover – Not known yet

Will attach to port ?

BPR/Tilt instrument for MARS
Recover 12/15/2010
Port 7

Bill Chadwick @NOAA

Scott Stalin @NOAA/PMEL

University of Minnesota

Deploy 3rd/4th quarter 2011
Funding not yet established.

Large Aperture Array

2011
NPS
DARPA Time Request

There was a request from DARPA for ROV time this year for laying fiber cable.  Need 2 days for testing efforts.  Would have to be in 2011.
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