MARS Status May 31, 2011
Current Experiments – 5
· LOOKING on port 1

· FOCE on port 2

· PHOBOS on port 4

· Tongji on port 6

· BPR/Tilt on port 7

Issues
FOCE

CO2 fill on May 31st.

EOI

Telephone repaired.

BPR

Exactly how long has the BPR deployment been extended?  I have not seen a PO yet.

ONR

Back to life.  Deployment in the fall (September) for maybe 6 months.  Need details!
Tongji University, China
All of Tongji surface machines now in MARS lab.  All of Tongji people are back in China.
MARS West Gb Link is Down

The link is still down but the East link is running without errors.  Debug efforts will be scheduled again soon.
MARS OBC is Down

OBC hardware ¾ functional.  DCS server serial port now works.  1PPS is being tested.  Testing is still ongoing.  An issue was seen with a major increase in jitter.  Still investigating.
MARS EOI Maintenance

Several items need to be addressed at the EOI:

1. Sea water ground check

2. Power supply maintenance

3. UPS service

EOI Door Sensor

Still waiting for install to be re-scheduled
MOBB 
Deployment date 6/22/2011 & 6/23/2011.  It will be done on the WF.  Need to document (verify) network setup.  Need to work detailed cable lay plan to avoid Tongji.
ROV Trenching Tool

Test showed issues with being able to bury cable.  Some changes will be made to the setup.  Cable lay will take place June 22 and 23.
Sediment Events Sensor

Working with Paul to define network and schedule testing.
Port Test Tool (PTT)

The PTT is being redesigned to enhance its current capabilities and add some new ones.  Changes are being driven by experience working with MARS.  
MARS Data Into SSDS

Rich has completed most of his work.  Now needs to do the verification phase.  Actual entry of data into SSDS might take a bit longer (up to several months).  
MARS Lab
Air conditioner work complete - works much better.  Sky light covered - big improvement.

Future deployments/recoveries
MOBB

Cable lay date is 6/22/2011 & 6/23/2011.

LOOKING
Recover June 29, 2011

Port 1

John Orcutt @UCSD

Sediment Events Sensor

Deploy 6/30/2011
Recover 10/25/2011
Port 3
Ken Smith

Ghost Buster
Deploy 9/29/2011

Recover 11/30/2011
Port 8

Funding not yet established.
Kang Ding – University of Minnesota
Tongji University
Recover 10/26/2011 & 10/27/2011

Port 6
Dr.  Huaiyang Zhou @Tongji University, China

ESP

Deploy 11/10/2011  Might be delayed until spring
Recover 2012
Port 3

MARS O&M Days

11/28/2011, 11/29/2011
FOCE

Recover 2012
Port 2

BPR/Tilt instrument for MARS
Recover 2012
Port 7

Bill Chadwick @NOAA

Scott Stalin @NOAA/PMEL
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