MARS Status November 8, 2011

Current Experiments – 5

- FOCE on port 2

- PHOBOS on port 4

- MOBB on port 5

- BMFC on port 6

- BPR/Tilt on port 7

Issues

Power Failure last Friday

The MARS UPS gave out about 10 minutes before PG&E got the power back on.

ODI Connector Failures

A second ODI connector has failed to seal all sockets when connector removed.  Previously port 4 had a single socket fail to seal.  Now port 6 has had 3 sockets fail to seal.

DCS Server failure

The DCS server hardware is repaired, nine days after it failed.  Still some software setup to go.

SES

Recovered 11/7/2011

PHOBUS

Deployed 11/7/2011.  Looking good so far

MARS Data Into SSDS

Actual entry of data into SSDS might take a bit longer (up to several months).  Estimate is October 2011.  (Today must be October 39th)

MARS EOI Maintenance

Several items need to be addressed at the EOI:

- Sea water ground check

- Power supply maintenance

- UPS service

MARS West Gb Link is Down

The link is still down but the East link is running without errors.  Debug efforts will be scheduled again soon.

Future deployments/recoveries

BMFC

Deploy 11/15/2011 & 11/16/2011 for remotes

Recover 7/17/2012 & 7/18/2012

Port 6

BPR/Tilt instrument for MARS

Recover 11/28/2012

Port 7

Bill Chadwick @NOAA

Scott Stalin @NOAA/PMEL

FOCE

Recover August 2012

Port 2

Ghost Buster

Deploy 10/2/2012

Recover 12/19/2012

Port 8

Kang Ding – University of Minnesota

MARS

Looking 4/7/2010

North

BPR/Tilt 6/30/2010

MOBB 6/22/2011

PHOBOS 10/25/2011

Tongji University

4/21/2011

FOCE 5/4/2011

SES

10/25/2011

Bottom map