EOI Monitor System

MARS O&M cannot remotely monitor the status of the following:

- State of AC into the building

- State of UPS output

- Building door open/closed status

- Detect any motion in building

- Building temperature (air conditioning failure)

- Building humidity

- Visual

Propose to install AVTECH Room Alert 11ER Monitor.  This will provide a standalone web server that is capable of monitoring all but the visual.  Need to add a small UPS and 2 webcams.

| Costs would be: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | AVTECH system |  |  |  | $670.87 |
|  | Tripp Lite Smart Pro LCD 1500VA UPS |  |  |  | $199.99 |
|  | Trendnet TV-IP600 Webcams (2) |  |  |  | $299.98 |
|  | Total |  |  |  | $1,170.84 |