EOI Monitor System

MARS O&M cannot remotely monitor the status of the following:
1. State of AC into the building
2. State of UPS output
3. Building door open/closed status
4. Detect any motion in building
5. Building temperature (air conditioning failure)
6. Building humidity
7. Visual

Propose to install AVTECH Room Alert 11ER Monitor.  This will provide a standalone web server that is capable of monitoring all but the visual.  Need to add a small UPS and 2 webcams.

	Costs would be:
	
	
	
	

	
	AVTECH system
	
	
	$670.87 

	
	Tripp Lite Smart Pro LCD 1500VA UPS
	$199.99 

	
	Trendnet TV-IP600 Webcams (2)
	$299.98 

	
	
	
	
	
	

	
	Total
	
	
	
	$1,170.84 



