MARS Operations will be using the MARS Technical / Schedule Discussion List for future general notifications.  Users can sign up for this list at: 

http://listserver.mbari.org/sympa/info/mars
The MARS Operations and Maintenance email address will continue to be used for communications with the MARS team for questions or issues involving a given experiment.
An institute wide power outage is planned at MBARI on May 7th 2010.  The MARS node and all attached experiments will not be affected by the outage.  The shore side MARS equipment and shore side science equipment will be put on generator backup.  There should not be power interruption but this does require connecting the UPS’s to the generator and then back to the mains after the maintenance is complete.  Communications within the MARS network will be maintained but communications outside of the MARS network will be done.  The work will begin at 6:30 am and is planned to be completed by 8:00 pm.
The MARS lab main UPS is at its maximum capacity and needs to be upgraded.  None of the user science equipment is powered off of this UPS.  However, all MARS shore side equipment is powered off of this UPS.  We would like to complete this upgrade prior to the planned May 7th power outage.  Changing out the UPS will not affect power for the node or experiments.  It will result in several short network interruptions of several minutes each.  This change over will be done on May 5th, 2010.  Work will start at 7:00 and should be complete by 8:00.
If anyone would like their experiment shut off prior to either the UPS swap on the 5th or the power outage on the 7th, just contact MARS Operations and Maintenance.
