MDUC DATA REPORT: CTD CORE DATA
	Report prepared by Reiko Michisaki
	Monday, October 01, 2001 10:34:52 
	Cruises taken this month
	Project	Cruise	Date	PI	Description
	PTLO	24801	9/05/01	Tim Pennington	Biogeochemical Cycles: Time series: 
	Stations C1, M1, and M2
	PTLO	26901	9/26/01	Tim Pennington	Biogeochemical Cycles: Time series: 
	Stations C1, M1, and M2
	Cruises loaded this month
	Project	Cruise	# Stations	Date	Description
	PTLO	24801	3	9/05/01	Biogeochemical Cycles: Time series: 
	Stations C1, M1, and M2
	PTLO	26901	3	9/26/01	Biogeochemical Cycles: Time series: 
	Stations C1, M1, and M2
	Loading details
	Record counts
	Cruise	BCTD	PCTD
	24801	33	1214
	24801	33	1214
	Problems 
1. S401 bottle salinities: As DJ Osborne is no longer the CTD technician it is not clear who has responsiblities to run the bottle salinities needed for validation of CTD salinity.
	Modifications
1. No modifications to report.
	MBARI Confidential Information	Page 1 of 1