Mt Toro issues

1/8/2009

· Our floor space per our lease 6’ X 4’

· Antenna space on tower

· Tampering

· Air Conditioning/ overheating when someone leaves the door open for hours. (7/1/08)

· Issues with Gerry:

Gerry approved the MBARI cable entries and ground system and then complained about it.

Gerry unplugged the SeaTel pointing system.

Gerry covered up our exterior camera.

Gerry complained about the Ham’s antenna on the short tower saying MBARI installed it and it was in the way.

Gerry accused us of putting a flash camera?? We have never had a camera with a flash.

Gerry told me that I was not allowed to climb the tower.  Harry subsequently told me that Gerry was just joking. 

On one occasion Gerry pushed me out of the building and told me that I was in the way.  I complained to Harry and he told me that Gerry accused me of pushing Gerry! 

I told Gerry about the additional rack need and Dole was still allowed to install in the rack.

· Some one (Dole installers) cut our LDF4-50 free and let the Heliax hang on tower.

· We would like permission to install a Metsys at its original location. It will be publicly available.

· Web cam available on line at MBARI’s website

· Hams (Mathew Kaufman) need to install a UHF circulator and harmonic filter on their repeater.  Also install harmonic filter on the existing Telewave UHF circulator.  Also move their Telewave UHF antenna 10’ away from our UHF Paraflector.

· I sent Harry our work plan for 2008 in 12/07

