MBARI 2007 Mt Toro To-Do’s

2/27/2007 Initial Draft

4/27/2007 Update

5/15/2007 Update

Goals

· WF SeaTel system + network DONE
· PL SeaTel system move to microwave rack. DONE
· Toro network and controls

· Digital video (late 07’)

Ground rod and cadweld ground conductors. DONE
Entrance panel, Interior DONE
Seal exterior entrance panel DONE
Install Harger master ground bar and Exterior ground bar (EGB). DONE
Install interior ground buss from master ground bar (MGB). DONE
Install ground bonding cables. DONE
Install second entry panel on north side of building. DONE
Install second surge protector ground bar and 2nd entry panel. DONE
Wire surge protectors.

Label the UHF radio chassis and inside connections
DONE
Reprogram the UHF radios

Buy a new telephone

Telephone protector + cables

Install Flyer and Lobos SeaTel antenna pointer at Mt Toro DONE
Install PiRod mounts

Install 900 MHz Paraflector and feed line 

Install UHF pre-selector panel DONE
Install GPS Antenna and splitter. DONE
Replace Mt Toro racks DONE
Rewire Mt Toro racks 

Drill floor anchors for rack. DONE
Recalibrate 18 Ghz Systems, Systems A, B and C.

Recalibrate 6 Ghz Systems, PL, WF

