MBARI 2008 Microwave To-Do’s
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Misc.

1. Amino NDA

2. VOIP cables in com room

3. Quintum VOIP program for flyer

To order 
1. APC management cards for Cupola ups

2. APC 24 port PDU for Toro

3. APC temp sensor + beehive

4. Unipower parts

5. UPS batteries

Mt Toro To-Do’s

1. Telephone protector + cables

2. Replace/install feed lines

a. Upper Paraflector 7/8”

b. Lower Paraflector ½”

c. UHF yagi ½”

d. UHF dipole ½”

e. VHF dipole ½”

3. Connect surge protectors

4. Install wire lacing bars as-needed

5. Recalibrate 6 Ghz Systems, PL, WF

6. Update all drawings to “as-built”

7. Install Panasonic exterior network camera web server

8. LDF3 connector for System-0

9. Long hose clamp for System-0

10. Fix WF SeaTel platform

11. Replace UPS batteries

12. Design SeaTel service platform (step)

13. Inststal safety

MBA To-Do’s
1. Remove radome cover paint 

2. Align Dish and feed

3. Audio circuits

4. Edit MBA drawings

Ship To-Do’s


Rewire Flyer A/V rack

Document Flyer A/V system

Lobos’ rack, document 

Flyer Quintum

Cupola To-Do’s

Clean Up 
1. Remove/uninstall all unused wire and cable

2. General House Cleaning

3. Tag all electronics with appropriate color tags

4. Sort and organize storage cabinets.  

Physical Improvements

1. Paint a keep-out zone in front of the microwave dish

2. Get shelves and cabinets installed

3. Get a bookshelf for manuals

Racks and Electronics

1. Re-wire video cables

2. Re-wire audio cables

4. Anchor racks to the floor.

3. Install AC outlets above racks.

4. Ground racks

5. Ground CATV amp

6. Program and Install Amino monitor decoder

7. Reinstall UHF yagi

8. Replace UPS battery

CATV System

1. Recalibrate Modulators

2. Clean up wiring

3. Calibrate audio levels

4. Clean up bldg-A wiring

5. Replace splitter in parking lot vault

6. Install new amp in bldg-D

7. Install ground blocks

