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Radiometer Service Report

	Date
	[bookmark: _GoBack]1/2/18
	SR #:
	1005503068R
	Sensor Type:
	HyperOCR R



	S/N
	203
	Customer
	MBARI




Problems Found:
No Problems Found.

Services Performed: 
Did Post Calibration and Reality Check.
 
Passed Calibration and Reality Check.
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