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Bioshutter Service Report

	Date
	1/4/18
	SR #:
	1005503068R
	Sensor Type:
	Bioshutter



	S/N
	[bookmark: _GoBack]094
	Customer
	MBARI




Problems Found:
Bioshutter came in without the Copper Paddle.
Services Performed: 
Installed new Paddle and screws (Silicon Brass).
Bioshutter passed functional tests.
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