[image: http://www.seabird.com/sites/all/themes/satlantic/images/navigation/286x60-main-logo.png]
Radiometer Service Report

	Date
	1/2/17
	SR #:
	1005503068R
	Sensor Type:
	[bookmark: _GoBack]HyperOCR I



	S/N
	229
	Customer
	MBARI




Problems Found:
No Problems Found.

Services Performed: 
Did Post Calibration and Reality Check.
 
Passed Calibration and Reality Check.
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