Radiometer Service Report

| Date | 1/2/17 | SR #: | 1005503068R | Sensor Type: | HyperOCR I |
| --- | --- | --- | --- | --- | --- |

| S/N | 229 | Customer | MBARI |
| --- | --- | --- | --- |

Problems Found:

No Problems Found.

Services Performed:

Did Post Calibration and Reality Check.

Passed Calibration and Reality Check.