Bioshutter Service Report

| Date | 1/4/18 | SR #: | 1005503068R | Sensor Type: | Bioshutter |
| --- | --- | --- | --- | --- | --- |

| S/N | 064 | Customer | MBARI |
| --- | --- | --- | --- |

Problems Found:

Bioshutter came in without the Copper Paddle.

Services Performed:

Installed new Paddle and screws (Silicon Brass).

Bioshutter passed functional tests.