Radiometer Service Report

| Date | 2/7/18 | SR #: | 1005503068R | Sensor Type: | HyperOCR ICSW |
| --- | --- | --- | --- | --- | --- |

| S/N | 295 | Customer | MBARI |
| --- | --- | --- | --- |

Problems Found:

No Problems Found.

Services Performed:

Did Post Calibration.

Passed Calibration and Reality Check.

Came in with Bioshutter 064.