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Radiometer Service Report

	Date
	2/7/18
	SR #:
	1005503068R
	Sensor Type:
	HyperOCR ICSW



	S/N
	295
	Customer
	MBARI




Problems Found:
No Problems Found.

Services Performed: 
Did Post Calibration.
Passed Calibration and Reality Check.
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