## mbari_testinstruments
INSTRUMENT_ID | MANUFACTURER | MODEL_NUMBER | SERIAL_NUMBER | ASSET_DESCRIPTION | LAST KNOWN CALIBRATION_DATE
0001 | Tektronix | MSO 2024 | C001164 | 200 MHz bandwidth 4 analog channels 16 digital channels Sample rates up to 1GS/s on all channels 1 Mega sample record length on all channels 5,000 wfm/s maximum waveform capture rate Suite of advanced triggers Serial Bus Trigger and Decode I2C, SPI, CAN, LIN, and RS-232/422/485/UART serial triggering, decode, and analysis options | 2009-10-06
0002 | Tektronix | DPO 4034 | C010298 | Digital Phosphor, 350 MHz, 4 Channels | 2007-08-15
0003 | Extech | 382260 | G270800769 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0004 | BK Precision | VSP6020GPIB | 708-VSP6020-92 | 0-60V, 0-20A High Power Switching Power Supply w/GPIB | 2007-05-10
0005 | Extech | 382260 | G260902830 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A. Paul's workbench.
0006 | Extech | 382260 | G260902719 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0007 | Extech | 382260 | G260902828 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0008 | Extech | 382260 | G260902852 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0009 | Extech | 382260 | G260902831 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0010 | Pfiffer Vacuum | HLT 260 | 4011005016 | QualyTest Helium Leak Detector | 2009-03-01
0011 | Megger | CFL535FR | 66411-014/08088/1145 | Cable Fault Locator. General Purpose TDR; 9 Ranges (0-150 ft. to 0-48,000 ft.)
0012 | Agilent | 34134A | US39000136 | Frequency range: dc to 8 kHz, Current range, 10 mA to 80 A dc, 10 mA to 60 A ac, Accuracy: 2% reading +5 mA (1 V/A range)
0013 | Tektronix | A6302 | 1-48010 | Current Probe with AM503B AC/DC Current Probe Amplifier (sn:BO46825). 20 Amps Continuous/50 Amps Peak | 2007-09-27
0014 | Xantrex | XHR 60-18 | E00089128 | DC Power Supply 0-60V, 0-18A
0015 | HP | E3612A | KR15000329 | DC Power Supply 60-120V/.5-.25A Dual
0016 | HP | 53131A | 3736A22369 | Frequency Counter. Two channel 10 digits per frequency and period resolution and up to 225 Mhz | 1998-11-09
0017 | BK Precision | 1711 | 98070506 | 0-60 V, 0-2 A, Analog DC Power Supply
0018 | HP | 5315A | 2536A15798 | 100Mhz Universal Counter
0019 | HP | 6296A | 1140A02281 | DC power supply 0-60V, 0-3A
0020 | Tektronix | THS720P | B050198 | 2 Channel 100 MHz Handheld Battery Operated Digitizing
0021 | HP | 6038A | 2752A-04681 | DC Power Supply, Single Output, Autoranging, 240W, GPIB, 60V, 10A
0022 | Tenma | 72-6615 | 0400376 | DC Power Supply Outputs:3; Output Voltage:30V; Output Voltage 2:30V; Output Voltage 3:5V; Output Current:3A; Output Current 2:3A; Output Current 3:3A;
0023 | Tektronix | AFG3101 | C020978 | Arbitrary/Function Generator 10 MHz, 25 MHz, 100 MHz, or 240 MHz Sine Waveforms 14 bits, 250 MS/s, 1 GS/s, or 2 GS/s USB, GPIB, and LAN Arbitrary Waveforms 14 bits, 250 MS/s, 1 GS/s, or 2 GS/s Arbitrary Waveforms
0024 | Fluke | Ti45 | TI45FT-0708059 | IR FlexCam® Thermal Imagers with IR-Fusion Technology
0025 | EXFO | FTB-400 | 134803-3D | Universal Test System Mainframe OTDR/Network tester
0026 | Fujikura | FSM-40S | 001841 | Fiber optic arc fusion splicer
0027 | Triad-Utrad | N-36MG | 17-7429 | Autoformer
0028 | Fujikura | HJS-02 | 12259 | Hot jacket stripper for fiber optics
0029 | Ilsintech | CI-02 | 240486 | Fiber optic cleaver
0030 | HP | 8015A | 1538G00943 | 1 Hz to 50 MHz Pulse Generator
0031 | Agilent | E3630A | MY40003280 | DC Power Supply 6-20V/2.5-.5A Triple Output
0032 | Agilent | E3610A | MY40005996 | DC Power Supply Dual 8/ 15 V @ 3/ 2 A
0033 | IET Labs | RS-200W | 10290103 | Decade box 01% to 1% | 2001-10-29
0034 | Tektronix | A6302 | 1-48011 | Current Probe with AM503B AC/DC Current Probe Amplifier (sn:BO39025). 20 Amps Continuous/50 Amps Peak | 2007-09-27
0035 | HP | 6209B | 3124A-08979 | DC Power Supply 0-320 V, 0-0.1 A
0036 | HP | 3312A | 1432A09007 | 0.01 Hz to 13 MHz function generator/sweeper
0037 | ESI | DB62 | 8409008 | Decade box | 1993-11-15
0038 | BK Precision | 8500 | 85000123507120073 | 300W Programmable DC Electronic Load
0039 | Tektronix | TDS 360 | BO14005 | 200MHz,1GSa/s,2ch
0040 | Tektronix | A622 | 12GG5284 | 100 Amp AC/DC Current Probe
0041 | Datel | DVC 8500 | 38867-5 | Voltage Calibrator | 2007-08-01
0042 | HP | 6236B | 2735A-23500 | DC Power Supply Outputs:3; Output Voltage:6V; Output Voltage 2:+20V; Output Voltage 3:-20V; Output Current:2.5A; Output Current 2:0.5AA; Output Current 0.5A;
0043 | Agilent | 34401A | MY41022257 | 6.5 Digital Multimeter
0044 | Tektronix | P6015A | B029873 | 1000X High Voltage Probe High Voltage - 20 kV DC/40 kV Peak (100 ms Pulse Width) High Bandwidth - 75 MHz Silicone Dielectric Optional 1,000X Readout Coding Wide Compensation Range (7-49 pF)
0045 | Tektronix | P6015 |  | 1000x, 3pF, High Voltage Probe
0046 | HP | 6028A | US36520231 | DC Power Supply, 0-60Vdc, 0-10Amps
0047 | Tektronix | 2465B | MBARI794 | Analog, 4 Channel, 400MHz
0048 | HP | 11982A | 3022A00890 | Lightwave Converter 1200-1600mm
0049 | HP | 81511A | 2318G00327 | Optical Head 250MHz | 2002-03-14
0050 | Valhalla | 2190D | 45-122 | Isolated Digital to Analog Converter | 1993-05-10
0051 | Polar | TONEOHM 950 | 015641 | Multi Layer Shorts Detector | 2002-05-06
0052 | HP | 412A | 649-16997 | Vacuum Tube Volt Meter | 1978-04-01
0053 | Megger | S1-5005 | D2901037 | High Pot Tester
0054 | Tektronix | 224 | B030076 | Handheld Digital Storage
0055 | Lecroy | 9310AM | 93105621 | Digital: 400MHz,100MSa/s,2ch (Stand alone) | 2009-03-16
0056 | Lecroy | LC334A | LC3342921 | 500Mhz, 4 Channel, Digital 2 GS/s and 4 GS/s Single- Shot Sample Rate 8 Million Points of Acquisition Memory 4 ms Maximum Sample Rate Window 96 MHz PowerPC Microprocessor 8 to 64 MB System RAM 9" Color Display with 8 Traces Analog Persistence Full Screen Grid | 2005-12-19
0057 | Agilent | Infiniium | US40380181 | 105GHz 8GS a/s | 2002-12-11
0058 | Tektronix | 2465B | 00401138 | Analog, 4 Channel, 400MHz
0059 | Tektronix | TDS360 | B014005 | 200Mhz
0060 | Stanford Researc | SR850 | 27772 | DSP Lock-In Amplifier
0061 | HP | 35660A | 3007A01562 | Digital Signal Analyzer | 2002-10-31
0062 | Precision Filter | 133960-3 | MF64-00-1-M8 | Filter
0063 | Agilent | 4284A | 2940J13011 | Precision LCR Meter 20Hz - 1Mhz | 2003-11-25
0064 | Agilent | 16702B | US41240189 | Logic Analyzer
0065 | Synthesys | BA622 | 11103 | Bit Analyzer
0066 | Agilent | 54622D | MY40003311 | 100MHz | 2001-07-23
0067 | HP | 3312A | 1432A08007 | Function Generator | 1998-12-17
0068 | Tektronix | A6303 | B022377 | 100ADC 700V
0069 | Magni | 1515SP | B010081 | NTSC/Component Signal Generator
0070 | Stanford Researc | SR720 | 15815 | LCR Meter
0071 | Schumacher | SE-40MA | SE-40MA | 10A Twin Rate Charger
0072 | Tektronix | WFM-300 | BO10604 | Component Wave Form Monitor
0073 | A.P.Circuit | AP280-5-SR | 1890033-001 | Variable Frequency Filter
0074 | BK Precision | 851 | 851 | Delux EPROM Eraser
0075 | General Radio | 1412-BC | 181 | Decade Capacitor 500Vpk 50pF min | 1998-11-20
0076 | ESI | DB62 | 849034 | Dekabox Decade Resistor | 2002-08-09
0077 | ESI | DB62 | 849008 | Dekabox Decade Resistor | 1998-11-25
0078 | ISCO | 494 | 620490004-85080 | Electrophoresis Power Supply 2000V 300mA MAX
0079 | Agilent | E3634A | MY40007653 | 0-25V,7A / 0-50V,4A | 2007-06-28
0080 | Agilent | E3634A | MY40001841 | 0-25V,7A / 0-50V,4A
0081 | LACO Technology | GASCHECK 3000 | 04-01255 | Handheld Helium Sniffer
0082 | Kepco | BOP 50-2M | E115330 | 0 to +/- 50V,2A
0083 | Agilent | 6554A | MY40000162 | 0-60V,9A
0084 | HP | 6269B | 3017A-15237 | 0-40V,50A | 1990-09-19
0085 | HP | 6269B | 2849A-14510 | 0-40V,50A | 1990-09-21
0086 | HP | 6015A | US37050154 | 0-500V,5A 1000W
0087 | Superior Elec | PBA10-N01-3 | PBA10-N01-3 | Variable Transformer
0088 | Agilent | E3630A | MY40003258 | DC Power Supply 6-20V/2.5-.5A Triple Output
0089 | HP | E3630A | KR75314272 | DC Power Supply 6-20V/2.5-.5A Triple Output | 2011-09-30
0090 | HP | 6236B | 1732A02491 | DC Power Supply Outputs:3; Output Voltage:6V; Output Voltage 2:+20V; Output Voltage 3:-20V; Output Current:2.5A; Output Current 2:0.5AA; Output Current 0.5A;
0091 | HP | 6236B | 1914A03433 | DC Power Supply Outputs:3; Output Voltage:6V; Output Voltage 2:+20V; Output Voltage 3:-20V; Output Current:2.5A; Output Current 2:0.5AA; Output Current 0.5A;
0092 | HP | E3630 | KR85017968 | 0-6V,2.5A / 0 to +/-20V,0.5A
0093 | Stanford Researc | PS350 | 08707 | 5000V-25W
0094 | Stanford Researc | PS310 | 08667 | 1250V-25W
0095 | Tenma | 72-2010 | 0101863 | 0-30V,3A
0096 | HP | 6228B | 3313A-05674 | 0-50V,1A
0097 | Siecor | M91 | S181 | Fusion Splicer
0098 | Soltec | A51 | A51 | Current Clamp
0099 | Tektronix | 460A | B060884 | 400MHz | 1997-10-20
0100 | n/a | n/a | n/a
0101 | Extech | 382260 | G450801525 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0102 | Clarostat | 240-C | 102 | Decade Box
0103 | Tekpower | HY3005D | 1128541 | Power Supply, FAULTY REGULATION, DO NOT USE ON SENSITIVE LOADS.
0104 | Extech | 382260 | G450801526 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0105 | Extech | 382222 | N99121109 | Power Supply
0106 | Tektronix | MSO 4034 | C000712 | Oscilloscope and logic analyzer 350MHz, 4 Analog Channels + 16 Digital Channels
0107 | Tektronix | A6302 | B041330 | Scope probe with Tektronix TM502A SN: B013061
0108 | Magtrol | HD-705-8N-4331 | 9I705527 | Hysteresis Dynamometer | 1999-09-24
0109 | Magtrol | DSP6000 | 9I600218 | Dynamometer Controller | 2006-01-27
0110 | HP | 33120A | US34004744 | Function Generator
0111 | Tektronix | TDS2024B | C043113 | Oscilloscope, 200 MHz 4 Channel Digital Storage Sample Rate 2.0 GS/s Real Time Color or Monochrome LCD Display Removable Data Storage via Front Panel USB Port Seamless PC Connectivity via USB Device Port, with OpenChoice® and NI SignalExpress® PC Software Advanced Triggers Including Pulse Width Trigger and Line-selectable Video Trigger FFT Standard on All Models 11 Automatic Measurements Multiple Language User Interface and Context-sensitive Help Direct Print to all PictBridge® Compatible Printers via USB Device Port
0112 | Extech | 382260 | thom todo | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0113 | Extech | 382260 | G270800766 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0114 | Extech | 382260 | 380700165 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0115 | BK Precision | 1711 | 99031862 | power supply
0116 | HP | E3612A | KR15000516 | DC Power Supply 60-120V/.5-.25A Dual
0117 | Extech | 382260 | G270800752 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0118 | Extech | 382260 | 380700168 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0119 | Tektronix | TDS1012 | C015566 | Oscilloscope, 100 MHz 2 Channel Digital Real-Time 60 MHz, 100 MHz and 200 MHz Bandwidths Sample Rates up to 2 GS/s 2 or 4 channels 2.5 k Points Record Length Color or Monochrome LCD Display Auto-set Menu with Waveform Selection Probe Check Wizard to Ensure Correct Probe Usage Context-Sensitive Help Dual Time Base Advanced Triggering 11 Automatic Measurements Multi-language User Interface Waveform and Setup Memories FFT Standard on All Models Optional RS232, GPIB and Centronics Printer Interfaces with TDS2CMAX Module Optional CompactFlash Memory Storage, RS232 and Centronics Printer Interfaces with TDS2MEM Module
0120 | HP | E3617A | KR32500319
0121 | Tektronix | 2465B | 00401268 | Oscilloscope, Analog, 4 Channel, 400MHz
0122 | Tektronix | TDS2014 | C051717 | Oscilloscope, 100 MHz 4 Channel Digital Real-Time
0123 | Extech | 382260 | 380700181 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0124 | Agilent | 54622D | MY40010332
0125 | Fluke | 8840A/AF | 3830034 |  | 1999-12-17
0126 | Fluke | 8840A/AF | 3845063 |  | 1998-12-16
0127 | Triad-Utrad | F-22A | 17-840Z | 6.3VAC 20A Filament Transformer
0128 | MBARI | GFD | 128 | Ground Fault Detector
0129 | Lambda | LQ-521 | J86908 | power supply | 1999-12-02
0130 | HP | 3466A | 2549A-27271 | multimeter
0131 | Dreamble | 1850 | PDCB60016111 | Differential Aplifier
0132 | HP | E3630A | KR75314513 | DC Power Supply 6-20V/2.5-.5A Triple Output
0133 | MBARI | GFD | 133 | Custom Ground Fault Detector
0134 | Pacific Power | FC105 | 1990534 | AC Power Source
0135 | HP | 54845A | US36250221 | Infinium 1.5GHz scope | 1999-09-03
0136 | Agilent | E3610A | MY4005994 | power supply
0137 | Agilent | 33120A | MY40012743 | Function Generator
0138 | Agilent | 8163A | DE41110277 |  | 2007-10-25
0139 | Agilent | 81623B | DE41300794 |  | 2007-10-18
0140 | HP | 6236B | 2735A-19814 | DC Power Supply Outputs:3; Output Voltage:6V; Output Voltage 2:+20V; Output Voltage 3:-20V; Output Current:2.5A; Output Current 2:0.5AA; Output Current 0.5A;
0141 | Tenma | 72-6610 | 0501260 | power supply
0142 | Tektronix | TCP303 | 142 | Current probe
0143 | Tektronix | C-9 | 143 | Film Camera for Oscilloscope
0144 | Tektronix | TDS460A | B060887 | Scope
0145 | Lecroy | 334 | LCRY0101J26110 | 350 MHz, 1 GS/s, 4 Ch, 500 kpts/Ch with 7.5" Color Display. 2 GS/s Interleaved
0146 | Clarostat | 240-C | 146 | decade box | 2005-12-07
0147 | Magtrol | 5100 | 9I51776 | Power analyzer | 1999-01-23
0148 | HP | 6274B | 2071A-05096 | Power supply
0149 | HP | 6296A | ED1 | Power supply
0150 | HP | 6228B | ED2 | Power Supply
0151 | Tektronix | THS720P | BO54231 | scope
0152 | Lecroy | 312 | LCRY0101J25651 | LeCroy WaveJet 312 Digital Oscilloscope 100 MHz; 2 Ch; 1 GS/s; 500 kpts/Ch DSO with 7.5'' Color Display
0153 | Agilent | 54832D | MY42000197 | scope infinium
0154 | Tekpower | HY3005D | 1125535 | power supply
0155 | Tenma | 72-6610 | 0501259
0156 | HP | E3630A | MY40001917 | DC Power Supply 6-20V/2.5-.5A Triple Output
0157 | Lecroy | Waverunner 6050 | LCRY0602P1112 | scope | 2006-02-09
0158 | HP | 4936A | 3042U04625 | Transmission Impairment measuring set... (Craig Lab Only) | 1998-03-10
0159 | Astron | VLS-35M | 203090008 | power supply (Craig Lab Only)
0160 | HP | 435B | 2702A17442 | Power Meter (Craig Lab Only)
0161 | Telewave | TWL-150 | 3277 | Termination
0162 | Tenma | 72-6615 | 0201424 | Power Supply
0163 | HP | E3630A | KR85017747 | Power Supply (Craig Lab Only)
0164 | Tektronix | TDS3032 | BO15227 | Scope
0165 | GWInstek | GPS-3030DD | EI810054 | Power Supply
0166 | HP | 3312A | 2510A20948 | Function Generator
0167 | Agilent | 8920A | 3922A11589 | RF Communication Test Set
0168 | SyntheSys | HD292 | 32173 | Digital Video Analyzer
0169 | Tektronix | TDS3032 | BO21850 | scope
0170 | Trimble | 4000DS | 3526A10911 | Navigation
0171 | Tenma | 72-2075 | Craig todo 1 | Power Supply
0172 | Tektronix | TDS 2022B | Craig Todo 2 | Scope
0173 | Tenma | 72-2085 | Craig Todo 3 | Power Supply
0174 | GWInstek | GPS-3030DD | Craig Todo 4 | Power Supply
0175 | HP | 4951B | Craig Todo 5 | protocal Analyzer
0176 | Tenma | 72-6615 | Craig Todo 6 | power supply
0177 | Astron | PPS-4A | Craig Todo 7 | power Supply
0178 | HP | 8720D | Craig Todo 8 | network analyzer
0179 | HP | 8562A | 2712A00469 | Spectrum Analyzer | 1992-12-20
0180 | Agilent | 34401A | US36119927 | 6.5 digit multimeter
0181 | HP | 53151A | US39260498 | 26.5 GHz Counter | 2000-09-14
0182 | Magnetek-Triad | N-59M | 17-9029 | Isolation Transformer 1000VA 50/60Hz. 115V/115V
0183 | Agilent | 83630L | Craig todo 9 | 10MHz - 26.5GHz Swept CW Generator
0184 | Extech | 382203 | N96031718 | 0-30V/0-3A
0185 | Extech | 382203 | N96032127 | 0-30V/0-3A
0186 | Extech | 382222 | N99121108 | 0-20V/20A
0187 | Extech | 382222 | N99121097 | 0-20V/20A
0188 | Soltec | 6723 | 6D2465B122 | Primeline Paper Chart Recorder
0189 | HP | E3620A | KR75307129 | 0-25V/0-1A
0190 | GPT | GM-70 | N1 | N1. Narrow band polycarbonate, GPT, GM-70, Light Green, 55%VLT (visible light transmission) Good suppression of UV light, moderate suppression of IR, good suppression of far IR 190 – 380 OD7+ 780 – 845 OD3+ 850 – 1070 OD 4.5+ 5000-11000 OD7+
0191 | UVEX | UXk-ARG-A | N2 | N2. UVEX LSK-ARGONALIGN UXK-ARG-A Good suppression of UV light, moderate suppression of blue-green light, good suppression of far IR 190-380, OD7 488-515NM OD2-3 10,600 OD5
0192 | GPT | GBG-64-N | N3 | N3. Broadband GBG-64-N Amber/Orange 30%VLT (visible light transmission) Good suppression of UV, Violet, Blue, Blue-Green, Green, near IR, far IR light 190 – 532 OD 7+ 520-532 OD7+ 750-850 OD 5+ 710-750 OD3+ 850-1080 OD7+ 5000-11000 OD 7+
0193 | GPT | GG-51N | N4 | N4. Narrow band polycarbonate, GPT, GG-51N, Green, 45%VLT (visible light transmission) Good suppression of UV, Violet, near IR, far IR light. 190-420 OD9+ 770-810 OD 5+ 810-1100 OD 7+ 1064 OD10+ 5000-11000 OD7+
0194 | Xytronic | 426DLX | 0402 | Fume Extractor
0195 | Extech | 382260 | 380700183 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
0196 | Extech | 382260 | G270800705 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A. Paul's workbench.
0197 | Extech | 382260 | G271005364 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A (DALE GRAVES ONLY)
0198 | Triad-Utrad | N-59M | 17-8912 | Isolation transformer. 115V/115V 1000VA 50/60Hz
0199 | Agilent | 33220A | MY4404760 | 20Mhz Function/Arbitrary waveform generator.
0200 | AGILENT | E3634A | MY40001840 | 0-25V,7A / 0-50V,4A (MBARI asset number is 272)
323 | Extech | 382260 | G281730108 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
325 | Extech | 382260 | G281730119 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
326 | Extech | 382260 | G281730110 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
327 | Extech | 382260 | G281730109 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
328 | Extech | 382260 | G281730118 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
329 | Extech | 382260 | G281730111 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
330 | Extech | 382260 | G281730136 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
332 | Extech | 382260 | G281730137 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
333 | Extech | 382260 | G281730139 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A
334 | Extech | 382260 | G281730138 | Power Supply: 0 to 16V/0 to 5A; 0 to 27V/0 to 3A; 0 to 36V/0 to 2.2A