## Sheet1
Equipment in need of repair or replacement.
Manufacturer | PN | SN | Description | Repair/Trade | Cost Repair | Cost Trade | Distributor | Cost Refurb | Cost New
Agilent | E3630A | MY40001807 | 6V,2.5A +-20V, 0.5A | Agilent |  | 472.86 | Test Equipment Depot | 575
Agilent | E3612A | MKR15000516 | 30V,0.5A;120V,0.25A | Agilent |  | 285.56 | Test Equipment Depot | 500
Agilent | E3634A | my40001841 | 25V,7A;50V,4A | Agilent |  | 444.57 | Test Equipment Depot | 1433
Agilent | E3634A | MY40001840 | 25V,7A;50V,4A | Agilent |  | 444.57 | Test Equipment Depot | 1433
Xantrex | XHR60-18 | 26893 | 60V,18A | Xantrex | 935
Xantrex | XHR60-18 | 66509 | 60V,18A | Xantrex | 935
Xantrex | XHR60-18 | EE00089128 | 60V,18A | Xantrex | 935
Xantrex | XFR600-2 | EE00117812 | 600V,2A | Xantrex | 830
HP | 3312A | 1432A04087 | Function Generator |  |  |  | Test Equipment Depot | 425
BK Precision | VSP6020GPIB | 708-VSP6020-92 | 60V,20A | BK Precision | 350+90 Cal
New Equipment
Agilent | 33511B |  | ARB Waveform Gen 20Mhz |  |  |  | Metrictest.com |  | 1954
Agilent | 33220A |  | ARB Waveform Gen 20Mhz |  |  |  | Metrictest.com |  | 1863
Fluke | 742A-10K |  | 10k Resistance Standard |  |  |  | Metrictest.com | 1295
Datel/Calibrators Inc. | DVC-8500A |  | Voltage Source Calibrator+-20V |  |  |  | Transcat.com |  | 1418+146 Cal