## SeaFET
SeapHOx
7D-cell x 1 (10.5V) pack
|  |  |  | % per hr | [5 empty] | avg I (mA) | [6 empty] | capacity
D-Cell rating | 12000 | mA*hr | Samp Int. (min) | pump | cont. ON | cont. OFF | optode | SBE37 | Aux1 | pump | cont. ON | cont. OFF | optode | SBE37 | Aux1 | I (mA) | #days | #meas
D-Cell voltage | 1.5 | V | 2 | 0% | 33.33% | 66.67% | 0% | 0% | 0% | 0 | 20 | 0.86667 | 0 | 0 | 0 | 20.8667 | 23.9617 | 17252.3962
n cells | 7 |  | 3 | 0% | 22.22% | 77.78% | 0% | 0% | 0% | 0 | 13.3333 | 1.0111 | 0 | 0 | 0 | 14.3444 | 34.8567 | 16731.2161
series package volts | 10.5 | V | 4 | 0% | 16.67% | 83.33% | 0% | 0% | 0% | 0 | 10 | 1.0833 | 0 | 0 | 0 | 11.0833 | 45.1128 | 16240.6015
in parallel | 1 |  | 5 | 0% | 13.33% | 86.67% | 0% | 0% | 0% | 0 | 8 | 1.1267 | 0 | 0 | 0 | 9.1267 | 54.7845 | 15777.9401
package capacity | 12000 | mA*hr | 6 | 0% | 11.11% | 88.89% | 0% | 0% | 0% | 0 | 6.6667 | 1.1556 | 0 | 0 | 0 | 7.8222 | 63.9205 | 15340.9091
pH ave time | 40 | sec | 7 | 0% | 9.524% | 90.48% | 0% | 0% | 0% | 0 | 5.7143 | 1.1762 | 0 | 0 | 0 | 6.8905 | 72.5639 | 14927.4361
pump time | 0 | sec | 8 | 0% | 8.333% | 91.67% | 0% | 0% | 0% | 0 | 5 | 1.1917 | 0 | 0 | 0 | 6.1917 | 80.7537 | 14535.6662
peripheral&com time | 0 | sec | 9 | 0% | 7.407% | 92.59% | 0% | 0% | 0% | 0 | 4.4444 | 1.2037 | 0 | 0 | 0 | 5.6481 | 88.5246 | 14163.9344
Aux1 ON time | 0 | sec | 10 | 0% | 6.667% | 93.33% | 0% | 0% | 0% | 0 | 4 | 1.2133 | 0 | 0 | 0 | 5.2133 | 95.9079 | 13810.7417
controller sleep | 1.3 | mA | 11 | 0% | 6.061% | 93.94% | 0% | 0% | 0% | 0 | 3.6364 | 1.2212 | 0 | 0 | 0 | 4.8576 | 102.932 | 13474.7349
controller samp | 60 | mA | 12 | 0% | 5.556% | 94.44% | 0% | 0% | 0% | 0 | 3.3333 | 1.2278 | 0 | 0 | 0 | 4.5611 | 109.6224 | 13154.6894
|  |  | 13 | 0% | 5.128% | 94.87% | 0% | 0% | 0% | 0 | 3.0769 | 1.2333 | 0 | 0 | 0 | 4.3103 | 116.0024 | 12849.4943
|  |  | 14 | 0% | 4.762% | 95.24% | 0% | 0% | 0% | 0 | 2.8571 | 1.2381 | 0 | 0 | 0 | 4.0952 | 122.093 | 12558.1395
|  |  | 15 | 0% | 4.444% | 95.56% | 0% | 0% | 0% | 0 | 2.6667 | 1.2422 | 0 | 0 | 0 | 3.9089 | 127.9136 | 12279.7044
|  |  | 16 | 0% | 4.167% | 95.83% | 0% | 0% | 0% | 0 | 2.5 | 1.2458 | 0 | 0 | 0 | 3.7458 | 133.4816 | 12013.3482
|  |  | 17 | 0% | 3.922% | 96.08% | 0% | 0% | 0% | 0 | 2.3529 | 1.249 | 0 | 0 | 0 | 3.602 | 138.8133 | 11758.3016
|  |  | 18 | 0% | 3.704% | 96.3% | 0% | 0% | 0% | 0 | 2.2222 | 1.2519 | 0 | 0 | 0 | 3.4741 | 143.9232 | 11513.8593
|  |  | 19 | 0% | 3.509% | 96.49% | 0% | 0% | 0% | 0 | 2.1053 | 1.2544 | 0 | 0 | 0 | 3.3596 | 148.8251 | 11279.3734
|  |  | 20 | 0% | 3.333% | 96.67% | 0% | 0% | 0% | 0 | 2 | 1.2567 | 0 | 0 | 0 | 3.2567 | 153.5312 | 11054.2477
|  |  | 21 | 0% | 3.175% | 96.83% | 0% | 0% | 0% | 0 | 1.9048 | 1.2587 | 0 | 0 | 0 | 3.1635 | 158.0532 | 10837.9328
|  |  | 22 | 0% | 3.03% | 96.97% | 0% | 0% | 0% | 0 | 1.8182 | 1.2606 | 0 | 0 | 0 | 3.0788 | 162.4016 | 10629.9213
|  |  | 23 | 0% | 2.899% | 97.1% | 0% | 0% | 0% | 0 | 1.7391 | 1.2623 | 0 | 0 | 0 | 3.0014 | 166.5862 | 10429.7441
|  |  | 24 | 0% | 2.778% | 97.22% | 0% | 0% | 0% | 0 | 1.6667 | 1.2639 | 0 | 0 | 0 | 2.9306 | 170.6161 | 10236.9668
|  |  | 25 | 0% | 2.667% | 97.33% | 0% | 0% | 0% | 0 | 1.6 | 1.2653 | 0 | 0 | 0 | 2.8653 | 174.4998 | 10051.1866
|  |  | 26 | 0% | 2.564% | 97.44% | 0% | 0% | 0% | 0 | 1.5385 | 1.2667 | 0 | 0 | 0 | 2.8051 | 178.245 | 9872.0293
|  |  | 27 | 0% | 2.469% | 97.53% | 0% | 0% | 0% | 0 | 1.4815 | 1.2679 | 0 | 0 | 0 | 2.7494 | 181.859 | 9699.1468
|  |  | 28 | 0% | 2.381% | 97.62% | 0% | 0% | 0% | 0 | 1.4286 | 1.269 | 0 | 0 | 0 | 2.6976 | 185.3486 | 9532.2154
|  |  | 29 | 0% | 2.299% | 97.7% | 0% | 0% | 0% | 0 | 1.3793 | 1.2701 | 0 | 0 | 0 | 2.6494 | 188.7202 | 9370.9328
|  |  | 30 | 0% | 2.222% | 97.78% | 0% | 0% | 0% | 0 | 1.3333 | 1.2711 | 0 | 0 | 0 | 2.6044 | 191.9795 | 9215.0171
|  |  | 31 | 0% | 2.151% | 97.85% | 0% | 0% | 0% | 0 | 1.2903 | 1.272 | 0 | 0 | 0 | 2.5624 | 195.1322 | 9064.2048
|  |  | 32 | 0% | 2.083% | 97.92% | 0% | 0% | 0% | 0 | 1.25 | 1.2729 | 0 | 0 | 0 | 2.5229 | 198.1833 | 8918.2494
|  |  | 33 | 0% | 2.02% | 97.98% | 0% | 0% | 0% | 0 | 1.2121 | 1.2737 | 0 | 0 | 0 | 2.4859 | 201.1377 | 8776.92
|  |  | 34 | 0% | 1.961% | 98.04% | 0% | 0% | 0% | 0 | 1.1765 | 1.2745 | 0 | 0 | 0 | 2.451 | 204 | 8640
|  |  | 35 | 0% | 1.905% | 98.1% | 0% | 0% | 0% | 0 | 1.1429 | 1.2752 | 0 | 0 | 0 | 2.4181 | 206.7743 | 8507.2863
|  |  | 36 | 0% | 1.852% | 98.15% | 0% | 0% | 0% | 0 | 1.1111 | 1.2759 | 0 | 0 | 0 | 2.387 | 209.4647 | 8378.5881
|  |  | 37 | 0% | 1.802% | 98.2% | 0% | 0% | 0% | 0 | 1.0811 | 1.2766 | 0 | 0 | 0 | 2.3577 | 212.0749 | 8253.7256
|  |  | 38 | 0% | 1.754% | 98.25% | 0% | 0% | 0% | 0 | 1.0526 | 1.2772 | 0 | 0 | 0 | 2.3298 | 214.6084 | 8132.5301
|  |  | 39 | 0% | 1.709% | 98.29% | 0% | 0% | 0% | 0 | 1.0256 | 1.2778 | 0 | 0 | 0 | 2.3034 | 217.0686 | 8014.8423
|  |  | 40 | 0% | 1.667% | 98.33% | 0% | 0% | 0% | 0 | 1 | 1.2783 | 0 | 0 | 0 | 2.2783 | 219.4587 | 7900.5121
|  |  | 41 | 0% | 1.626% | 98.37% | 0% | 0% | 0% | 0 | 0.97561 | 1.2789 | 0 | 0 | 0 | 2.2545 | 221.7815 | 7789.3978
|  |  | 42 | 0% | 1.587% | 98.41% | 0% | 0% | 0% | 0 | 0.95238 | 1.2794 | 0 | 0 | 0 | 2.2317 | 224.0398 | 7681.3656
|  |  | 43 | 0% | 1.55% | 98.45% | 0% | 0% | 0% | 0 | 0.93023 | 1.2798 | 0 | 0 | 0 | 2.2101 | 226.2364 | 7576.289
|  |  | 44 | 0% | 1.515% | 98.48% | 0% | 0% | 0% | 0 | 0.90909 | 1.2803 | 0 | 0 | 0 | 2.1894 | 228.3737 | 7474.0484
|  |  | 45 | 0% | 1.481% | 98.52% | 0% | 0% | 0% | 0 | 0.88889 | 1.2807 | 0 | 0 | 0 | 2.1696 | 230.4541 | 7374.5306
|  |  | 46 | 0% | 1.449% | 98.55% | 0% | 0% | 0% | 0 | 0.86957 | 1.2812 | 0 | 0 | 0 | 2.1507 | 232.4798 | 7277.628
|  |  | 47 | 0% | 1.418% | 98.58% | 0% | 0% | 0% | 0 | 0.85106 | 1.2816 | 0 | 0 | 0 | 2.1326 | 234.4529 | 7183.2391
|  |  | 48 | 0% | 1.389% | 98.61% | 0% | 0% | 0% | 0 | 0.83333 | 1.2819 | 0 | 0 | 0 | 2.1153 | 236.3756 | 7091.2672
|  |  | 49 | 0% | 1.361% | 98.64% | 0% | 0% | 0% | 0 | 0.81633 | 1.2823 | 0 | 0 | 0 | 2.0986 | 238.2496 | 7001.6207
|  |  | 50 | 0% | 1.333% | 98.67% | 0% | 0% | 0% | 0 | 0.8 | 1.2827 | 0 | 0 | 0 | 2.0827 | 240.0768 | 6914.2125
|  |  | 51 | 0% | 1.307% | 98.69% | 0% | 0% | 0% | 0 | 0.78431 | 1.283 | 0 | 0 | 0 | 2.0673 | 241.859 | 6828.9598
|  |  | 52 | 0% | 1.282% | 98.72% | 0% | 0% | 0% | 0 | 0.76923 | 1.2833 | 0 | 0 | 0 | 2.0526 | 243.5978 | 6745.7839
|  |  | 53 | 0% | 1.258% | 98.74% | 0% | 0% | 0% | 0 | 0.75472 | 1.2836 | 0 | 0 | 0 | 2.0384 | 245.2947 | 6664.6097
|  |  | 54 | 0% | 1.235% | 98.77% | 0% | 0% | 0% | 0 | 0.74074 | 1.284 | 0 | 0 | 0 | 2.0247 | 246.9512 | 6585.3659
|  |  | 55 | 0% | 1.212% | 98.79% | 0% | 0% | 0% | 0 | 0.72727 | 1.2842 | 0 | 0 | 0 | 2.0115 | 248.5688 | 6507.9843
|  |  | 56 | 0% | 1.19% | 98.81% | 0% | 0% | 0% | 0 | 0.71429 | 1.2845 | 0 | 0 | 0 | 1.9988 | 250.1489 | 6432.4002
|  |  | 57 | 0% | 1.17% | 98.83% | 0% | 0% | 0% | 0 | 0.70175 | 1.2848 | 0 | 0 | 0 | 1.9865 | 251.6927 | 6358.5517
|  |  | 58 | 0% | 1.149% | 98.85% | 0% | 0% | 0% | 0 | 0.68966 | 1.2851 | 0 | 0 | 0 | 1.9747 | 253.2014 | 6286.3795
|  |  | 59 | 0% | 1.13% | 98.87% | 0% | 0% | 0% | 0 | 0.67797 | 1.2853 | 0 | 0 | 0 | 1.9633 | 254.6763 | 6215.8273
|  |  | 60 | 0% | 1.111% | 98.89% | 0% | 0% | 0% | 0 | 0.66667 | 1.2856 | 0 | 0 | 0 | 1.9522 | 256.1184 | 6146.8412
|  |  | 61 | 0% | 1.093% | 98.91% | 0% | 0% | 0% | 0 | 0.65574 | 1.2858 | 0 | 0 | 0 | 1.9415 | 257.5288 | 6079.3695
|  |  | 62 | 0% | 1.075% | 98.92% | 0% | 0% | 0% | 0 | 0.64516 | 1.286 | 0 | 0 | 0 | 1.9312 | 258.9087 | 6013.363
|  |  | 63 | 0% | 1.058% | 98.94% | 0% | 0% | 0% | 0 | 0.63492 | 1.2862 | 0 | 0 | 0 | 1.9212 | 260.2589 | 5948.7744
|  |  | 64 | 0% | 1.042% | 98.96% | 0% | 0% | 0% | 0 | 0.625 | 1.2865 | 0 | 0 | 0 | 1.9115 | 261.5804 | 5885.5586
|  |  | 65 | 0% | 1.026% | 98.97% | 0% | 0% | 0% | 0 | 0.61538 | 1.2867 | 0 | 0 | 0 | 1.9021 | 262.8741 | 5823.6721
|  |  | 66 | 0% | 1.01% | 98.99% | 0% | 0% | 0% | 0 | 0.60606 | 1.2869 | 0 | 0 | 0 | 1.8929 | 264.1409 | 5763.0736
|  |  | 67 | 0% | 0.995% | 99% | 0% | 0% | 0% | 0 | 0.59701 | 1.2871 | 0 | 0 | 0 | 1.8841 | 265.3816 | 5703.7233
|  |  | 68 | 0% | 0.9804% | 99.02% | 0% | 0% | 0% | 0 | 0.58824 | 1.2873 | 0 | 0 | 0 | 1.8755 | 266.597 | 5645.5829
|  |  | 69 | 0% | 0.9662% | 99.03% | 0% | 0% | 0% | 0 | 0.57971 | 1.2874 | 0 | 0 | 0 | 1.8671 | 267.7878 | 5588.6158
|  |  | 70 | 0% | 0.9524% | 99.05% | 0% | 0% | 0% | 0 | 0.57143 | 1.2876 | 0 | 0 | 0 | 1.859 | 268.9549 | 5532.7869
|  |  | 71 | 0% | 0.939% | 99.06% | 0% | 0% | 0% | 0 | 0.56338 | 1.2878 | 0 | 0 | 0 | 1.8512 | 270.0989 | 5478.0624
|  |  | 72 | 0% | 0.9259% | 99.07% | 0% | 0% | 0% | 0 | 0.55556 | 1.288 | 0 | 0 | 0 | 1.8435 | 271.2205 | 5424.4098
|  |  | 73 | 0% | 0.9132% | 99.09% | 0% | 0% | 0% | 0 | 0.54795 | 1.2881 | 0 | 0 | 0 | 1.8361 | 272.3203 | 5371.7981
|  |  | 74 | 0% | 0.9009% | 99.1% | 0% | 0% | 0% | 0 | 0.54054 | 1.2883 | 0 | 0 | 0 | 1.8288 | 273.399 | 5320.197
|  |  | 75 | 0% | 0.8889% | 99.11% | 0% | 0% | 0% | 0 | 0.53333 | 1.2884 | 0 | 0 | 0 | 1.8218 | 274.4572 | 5269.5779
|  |  | 76 | 0% | 0.8772% | 99.12% | 0% | 0% | 0% | 0 | 0.52632 | 1.2886 | 0 | 0 | 0 | 1.8149 | 275.4954 | 5219.913
|  |  | 77 | 0% | 0.8658% | 99.13% | 0% | 0% | 0% | 0 | 0.51948 | 1.2887 | 0 | 0 | 0 | 1.8082 | 276.5142 | 5171.1755
|  |  | 78 | 0% | 0.8547% | 99.15% | 0% | 0% | 0% | 0 | 0.51282 | 1.2889 | 0 | 0 | 0 | 1.8017 | 277.5142 | 5123.3397
|  |  | 79 | 0% | 0.8439% | 99.16% | 0% | 0% | 0% | 0 | 0.50633 | 1.289 | 0 | 0 | 0 | 1.7954 | 278.4959 | 5076.3807
|  |  | 80 | 0% | 0.8333% | 99.17% | 0% | 0% | 0% | 0 | 0.5 | 1.2892 | 0 | 0 | 0 | 1.7892 | 279.4597 | 5030.2748
|  |  | 81 | 0% | 0.823% | 99.18% | 0% | 0% | 0% | 0 | 0.49383 | 1.2893 | 0 | 0 | 0 | 1.7831 | 280.4062 | 4984.9988
|  |  | 82 | 0% | 0.813% | 99.19% | 0% | 0% | 0% | 0 | 0.4878 | 1.2894 | 0 | 0 | 0 | 1.7772 | 281.3358 | 4940.5306
|  |  | 83 | 0% | 0.8032% | 99.2% | 0% | 0% | 0% | 0 | 0.48193 | 1.2896 | 0 | 0 | 0 | 1.7715 | 282.2489 | 4896.8488
|  |  | 84 | 0% | 0.7937% | 99.21% | 0% | 0% | 0% | 0 | 0.47619 | 1.2897 | 0 | 0 | 0 | 1.7659 | 283.1461 | 4853.9326
|  |  | 85 | 0% | 0.7843% | 99.22% | 0% | 0% | 0% | 0 | 0.47059 | 1.2898 | 0 | 0 | 0 | 1.7604 | 284.0276 | 4811.7621
|  |  | 86 | 0% | 0.7752% | 99.22% | 0% | 0% | 0% | 0 | 0.46512 | 1.2899 | 0 | 0 | 0 | 1.755 | 284.894 | 4770.318
|  |  | 87 | 0% | 0.7663% | 99.23% | 0% | 0% | 0% | 0 | 0.45977 | 1.29 | 0 | 0 | 0 | 1.7498 | 285.7456 | 4729.5818
|  |  | 88 | 0% | 0.7576% | 99.24% | 0% | 0% | 0% | 0 | 0.45455 | 1.2902 | 0 | 0 | 0 | 1.7447 | 286.5827 | 4689.5354
|  |  | 89 | 0% | 0.7491% | 99.25% | 0% | 0% | 0% | 0 | 0.44944 | 1.2903 | 0 | 0 | 0 | 1.7397 | 287.4058 | 4650.1615
|  |  | 90 | 0% | 0.7407% | 99.26% | 0% | 0% | 0% | 0 | 0.44444 | 1.2904 | 0 | 0 | 0 | 1.7348 | 288.2152 | 4611.4432
|  |  | 91 | 0% | 0.7326% | 99.27% | 0% | 0% | 0% | 0 | 0.43956 | 1.2905 | 0 | 0 | 0 | 1.73 | 289.0112 | 4573.3644
|  |  | 92 | 0% | 0.7246% | 99.28% | 0% | 0% | 0% | 0 | 0.43478 | 1.2906 | 0 | 0 | 0 | 1.7254 | 289.7942 | 4535.9093
|  |  | 93 | 0% | 0.7168% | 99.28% | 0% | 0% | 0% | 0 | 0.43011 | 1.2907 | 0 | 0 | 0 | 1.7208 | 290.5645 | 4499.0627
|  |  | 94 | 0% | 0.7092% | 99.29% | 0% | 0% | 0% | 0 | 0.42553 | 1.2908 | 0 | 0 | 0 | 1.7163 | 291.3223 | 4462.8099
|  |  | 95 | 0% | 0.7018% | 99.3% | 0% | 0% | 0% | 0 | 0.42105 | 1.2909 | 0 | 0 | 0 | 1.7119 | 292.068 | 4427.1367
|  |  | 96 | 0% | 0.6944% | 99.31% | 0% | 0% | 0% | 0 | 0.41667 | 1.291 | 0 | 0 | 0 | 1.7076 | 292.802 | 4392.0293
|  |  | 97 | 0% | 0.6873% | 99.31% | 0% | 0% | 0% | 0 | 0.41237 | 1.2911 | 0 | 0 | 0 | 1.7034 | 293.5243 | 4357.4743
|  |  | 98 | 0% | 0.6803% | 99.32% | 0% | 0% | 0% | 0 | 0.40816 | 1.2912 | 0 | 0 | 0 | 1.6993 | 294.2354 | 4323.4588
|  |  | 99 | 0% | 0.6734% | 99.33% | 0% | 0% | 0% | 0 | 0.40404 | 1.2912 | 0 | 0 | 0 | 1.6953 | 294.9355 | 4289.9702
|  |  | 100 | 0% | 0.6667% | 99.33% | 0% | 0% | 0% | 0 | 0.4 | 1.2913 | 0 | 0 | 0 | 1.6913 | 295.6248 | 4256.9965
|  |  | 101 | 0% | 0.6601% | 99.34% | 0% | 0% | 0% | 0 | 0.39604 | 1.2914 | 0 | 0 | 0 | 1.6875 | 296.3035 | 4224.5257
|  |  | 102 | 0% | 0.6536% | 99.35% | 0% | 0% | 0% | 0 | 0.39216 | 1.2915 | 0 | 0 | 0 | 1.6837 | 296.972 | 4192.5466
|  |  | 103 | 0% | 0.6472% | 99.35% | 0% | 0% | 0% | 0 | 0.38835 | 1.2916 | 0 | 0 | 0 | 1.6799 | 297.6305 | 4161.048
|  |  | 104 | 0% | 0.641% | 99.36% | 0% | 0% | 0% | 0 | 0.38462 | 1.2917 | 0 | 0 | 0 | 1.6763 | 298.2792 | 4130.0191
|  |  | 105 | 0% | 0.6349% | 99.37% | 0% | 0% | 0% | 0 | 0.38095 | 1.2917 | 0 | 0 | 0 | 1.6727 | 298.9182 | 4099.4496
|  |  | 106 | 0% | 0.6289% | 99.37% | 0% | 0% | 0% | 0 | 0.37736 | 1.2918 | 0 | 0 | 0 | 1.6692 | 299.5479 | 4069.3293
|  |  | 107 | 0% | 0.6231% | 99.38% | 0% | 0% | 0% | 0 | 0.37383 | 1.2919 | 0 | 0 | 0 | 1.6657 | 300.1683 | 4039.6484
|  |  | 108 | 0% | 0.6173% | 99.38% | 0% | 0% | 0% | 0 | 0.37037 | 1.292 | 0 | 0 | 0 | 1.6623 | 300.7798 | 4010.3973
|  |  | 109 | 0% | 0.6116% | 99.39% | 0% | 0% | 0% | 0 | 0.36697 | 1.292 | 0 | 0 | 0 | 1.659 | 301.3825 | 3981.5668
|  |  | 110 | 0% | 0.6061% | 99.39% | 0% | 0% | 0% | 0 | 0.36364 | 1.2921 | 0 | 0 | 0 | 1.6558 | 301.9766 | 3953.1479
|  |  | 111 | 0% | 0.6006% | 99.4% | 0% | 0% | 0% | 0 | 0.36036 | 1.2922 | 0 | 0 | 0 | 1.6526 | 302.5622 | 3925.1317
|  |  | 112 | 0% | 0.5952% | 99.4% | 0% | 0% | 0% | 0 | 0.35714 | 1.2923 | 0 | 0 | 0 | 1.6494 | 303.1397 | 3897.5099
|  |  | 113 | 0% | 0.59% | 99.41% | 0% | 0% | 0% | 0 | 0.35398 | 1.2923 | 0 | 0 | 0 | 1.6463 | 303.709 | 3870.2741
|  |  | 114 | 0% | 0.5848% | 99.42% | 0% | 0% | 0% | 0 | 0.35088 | 1.2924 | 0 | 0 | 0 | 1.6433 | 304.2705 | 3843.4164
|  |  | 115 | 0% | 0.5797% | 99.42% | 0% | 0% | 0% | 0 | 0.34783 | 1.2925 | 0 | 0 | 0 | 1.6403 | 304.8242 | 3816.9288
|  |  | 116 | 0% | 0.5747% | 99.43% | 0% | 0% | 0% | 0 | 0.34483 | 1.2925 | 0 | 0 | 0 | 1.6374 | 305.3703 | 3790.8038
|  |  | 117 | 0% | 0.5698% | 99.43% | 0% | 0% | 0% | 0 | 0.34188 | 1.2926 | 0 | 0 | 0 | 1.6345 | 305.909 | 3765.034
|  |  | 118 | 0% | 0.565% | 99.44% | 0% | 0% | 0% | 0 | 0.33898 | 1.2927 | 0 | 0 | 0 | 1.6316 | 306.4404 | 3739.6122
|  |  | 119 | 0% | 0.5602% | 99.44% | 0% | 0% | 0% | 0 | 0.33613 | 1.2927 | 0 | 0 | 0 | 1.6289 | 306.9647 | 3714.5314
|  |  | 120 | 0% | 0.5556% | 99.44% | 0% | 0% | 0% | 0 | 0.33333 | 1.2928 | 0 | 0 | 0 | 1.6261 | 307.4821 | 3689.7848

## SeapHOx
SeapHOx
12D-cell x 3 (18V) pack
|  |  |  | % per hr | [5 empty] | avg I (mA) | [6 empty] | capacity |  | Non-isolated mode
D-Cell rating | 12000 | mA*hr | Samp Int. (min) | pump | cont. ON | cont. OFF | optode | SBE37 | Aux1 | pump | cont. ON | cont. OFF | optode | SBE37 | Aux1 | I (mA) | #days | #meas
D-Cell voltage | 1.5 | V | 2 | 20.83% | 62.5% | 37.5% | 4.167% | 4.167% | 0% | 20.8333 | 37.5 | 0.975 | 10.4167 | 0.83333 | 0 | 70.5583 | 21.259 | 15306.484 | 23.0061
n cells | 12 |  | 3 | 13.89% | 41.67% | 58.33% | 2.778% | 2.778% | 0% | 13.8889 | 25 | 1.5167 | 6.9444 | 0.55556 | 0 | 47.9056 | 31.3116 | 15029.5721 | 32.5615
series package volts | 18 | V | 4 | 10.42% | 31.25% | 68.75% | 2.083% | 2.083% | 0% | 10.4167 | 18.75 | 1.7875 | 5.2083 | 0.41667 | 0 | 36.5792 | 41.0069 | 14762.5014 | 41.0959
in parallel | 3 |  | 5 | 8.333% | 25% | 75% | 1.667% | 1.667% | 0% | 8.3333 | 15 | 1.95 | 4.1667 | 0.33333 | 0 | 29.7833 | 50.3637 | 14504.7566 | 48.7646
package capacity | 36000 | mA*hr | 6 | 6.944% | 20.83% | 79.17% | 1.389% | 1.389% | 0% | 6.9444 | 12.5 | 2.0583 | 3.4722 | 0.27778 | 0 | 25.2528 | 59.3994 | 14255.8574 | 55.6931
pH ave time | 40 | sec | 7 | 5.952% | 17.86% | 82.14% | 1.19% | 1.19% | 0% | 5.9524 | 10.7143 | 2.1357 | 2.9762 | 0.2381 | 0 | 22.0167 | 68.1302 | 14015.3563 | 61.9835
pump time | 25 | sec | 8 | 5.208% | 15.62% | 84.38% | 1.042% | 1.042% | 0% | 5.2083 | 9.375 | 2.1938 | 2.6042 | 0.20833 | 0 | 19.5896 | 76.5713 | 13782.8353 | 67.7201
peripheral&com time | 10 | sec | 9 | 4.63% | 13.89% | 86.11% | 0.9259% | 0.9259% | 0% | 4.6296 | 8.3333 | 2.2389 | 2.3148 | 0.18519 | 0 | 17.7019 | 84.7369 | 13557.9035 | 72.973
Aux1 ON time | 0 | sec | 10 | 4.167% | 12.5% | 87.5% | 0.8333% | 0.8333% | 0% | 4.1667 | 7.5 | 2.275 | 2.0833 | 0.16667 | 0 | 16.1917 | 92.6402 | 13340.1956 | 77.8008
controller sleep | 2.6 | mA | 11 | 3.788% | 11.36% | 88.64% | 0.7576% | 0.7576% | 0% | 3.7879 | 6.8182 | 2.3045 | 1.8939 | 0.15152 | 0 | 14.9561 | 100.2938 | 13129.3689 | 82.2532
controller samp | 60 | mA | 12 | 3.472% | 10.42% | 89.58% | 0.6944% | 0.6944% | 0% | 3.4722 | 6.25 | 2.3292 | 1.7361 | 0.13889 | 0 | 13.9264 | 107.7092 | 12925.1022 | 86.3724
optode | 250 | mA | 13 | 3.205% | 9.615% | 90.38% | 0.641% | 0.641% | 0% | 3.2051 | 5.7692 | 2.35 | 1.6026 | 0.12821 | 0 | 13.0551 | 114.8974 | 12727.0942 | 90.1943
SBE 37 | 20 | mA | 14 | 2.976% | 8.929% | 91.07% | 0.5952% | 0.5952% | 0% | 2.9762 | 5.3571 | 2.3679 | 1.4881 | 0.11905 | 0 | 12.3083 | 121.8687 | 12535.0614 | 93.75
SBE 5M | 100 | mA | 15 | 2.778% | 8.333% | 91.67% | 0.5556% | 0.5556% | 0% | 2.7778 | 5 | 2.3833 | 1.3889 | 0.11111 | 0 | 11.6611 | 128.6327 | 12348.7375 | 97.0664
Aux1 | 0 | mA | 16 | 2.604% | 7.812% | 92.19% | 0.5208% | 0.5208% | 0% | 2.6042 | 4.6875 | 2.3969 | 1.3021 | 0.10417 | 0 | 11.0948 | 135.1986 | 12167.8716 | 100.1669
|  |  | 17 | 2.451% | 7.353% | 92.65% | 0.4902% | 0.4902% | 0% | 2.451 | 4.4118 | 2.4088 | 1.2255 | 0.098039 | 0 | 10.5951 | 141.5749 | 11992.2273 | 103.0719
|  |  | 18 | 2.315% | 6.944% | 93.06% | 0.463% | 0.463% | 0% | 2.3148 | 4.1667 | 2.4194 | 1.1574 | 0.092593 | 0 | 10.1509 | 147.7698 | 11821.5817 | 105.7994
|  |  | 19 | 2.193% | 6.579% | 93.42% | 0.4386% | 0.4386% | 0% | 2.193 | 3.9474 | 2.4289 | 1.0965 | 0.087719 | 0 | 9.7535 | 153.7908 | 11655.7244 | 108.365
approximate flush rate | 1500 | mL/min | 20 | 2.083% | 6.25% | 93.75% | 0.4167% | 0.4167% | 0% | 2.0833 | 3.75 | 2.4375 | 1.0417 | 0.083333 | 0 | 9.3958 | 159.6452 | 11494.4568 | 110.7829
approx. internal vol | 200 | mL | 21 | 1.984% | 5.952% | 94.05% | 0.3968% | 0.3968% | 0% | 1.9841 | 3.5714 | 2.4452 | 0.99206 | 0.079365 | 0 | 9.0722 | 165.3399 | 11337.5908 | 113.0653
| 8 | sec/flush | 22 | 1.894% | 5.682% | 94.32% | 0.3788% | 0.3788% | 0% | 1.8939 | 3.4091 | 2.4523 | 0.94697 | 0.075758 | 0 | 8.778 | 170.8812 | 11184.9486 | 115.2235
3flushes | 24 | sec | 23 | 1.812% | 5.435% | 94.57% | 0.3623% | 0.3623% | 0% | 1.8116 | 3.2609 | 2.4587 | 0.9058 | 0.072464 | 0 | 8.5094 | 176.2752 | 11036.3621 | 117.2672
|  |  | 24 | 1.736% | 5.208% | 94.79% | 0.3472% | 0.3472% | 0% | 1.7361 | 3.125 | 2.4646 | 0.86806 | 0.069444 | 0 | 8.2632 | 181.5279 | 10891.6716 | 119.2053
|  |  | 25 | 1.667% | 5% | 95% | 0.3333% | 0.3333% | 0% | 1.6667 | 3 | 2.47 | 0.83333 | 0.066667 | 0 | 8.0367 | 186.6445 | 10750.7258 | 121.0458
|  |  | 26 | 1.603% | 4.808% | 95.19% | 0.3205% | 0.3205% | 0% | 1.6026 | 2.8846 | 2.475 | 0.80128 | 0.064103 | 0 | 7.8276 | 191.6305 | 10613.3814 | 122.796
|  |  | 27 | 1.543% | 4.63% | 95.37% | 0.3086% | 0.3086% | 0% | 1.5432 | 2.7778 | 2.4796 | 0.7716 | 0.061728 | 0 | 7.634 | 196.4907 | 10479.5019 | 124.4622
|  |  | 28 | 1.488% | 4.464% | 95.54% | 0.2976% | 0.2976% | 0% | 1.4881 | 2.6786 | 2.4839 | 0.74405 | 0.059524 | 0 | 7.4542 | 201.2297 | 10348.9579 | 126.0504
|  |  | 29 | 1.437% | 4.31% | 95.69% | 0.2874% | 0.2874% | 0% | 1.4368 | 2.5862 | 2.4879 | 0.71839 | 0.057471 | 0 | 7.2868 | 205.8522 | 10221.6263 | 127.566
|  |  | 30 | 1.389% | 4.167% | 95.83% | 0.2778% | 0.2778% | 0% | 1.3889 | 2.5 | 2.4917 | 0.69444 | 0.055556 | 0 | 7.1306 | 210.3623 | 10097.3899 | 129.0138
|  |  | 31 | 1.344% | 4.032% | 95.97% | 0.2688% | 0.2688% | 0% | 1.3441 | 2.4194 | 2.4952 | 0.67204 | 0.053763 | 0 | 6.9844 | 214.7641 | 9976.1373 | 130.3982
|  |  | 32 | 1.302% | 3.906% | 96.09% | 0.2604% | 0.2604% | 0% | 1.3021 | 2.3438 | 2.4984 | 0.65104 | 0.052083 | 0 | 6.8474 | 219.0614 | 9857.7622 | 131.7234
|  |  | 33 | 1.263% | 3.788% | 96.21% | 0.2525% | 0.2525% | 0% | 1.2626 | 2.2727 | 2.5015 | 0.63131 | 0.050505 | 0 | 6.7187 | 223.2579 | 9742.1634 | 132.993
|  |  | 34 | 1.225% | 3.676% | 96.32% | 0.2451% | 0.2451% | 0% | 1.2255 | 2.2059 | 2.5044 | 0.61275 | 0.04902 | 0 | 6.5975 | 227.3572 | 9629.2444 | 134.2105
|  |  | 35 | 1.19% | 3.571% | 96.43% | 0.2381% | 0.2381% | 0% | 1.1905 | 2.1429 | 2.5071 | 0.59524 | 0.047619 | 0 | 6.4833 | 231.3625 | 9518.913 | 135.3791
|  |  | 36 | 1.157% | 3.472% | 96.53% | 0.2315% | 0.2315% | 0% | 1.1574 | 2.0833 | 2.5097 | 0.5787 | 0.046296 | 0 | 6.3755 | 235.277 | 9411.0813 | 136.5015
|  |  | 37 | 1.126% | 3.378% | 96.62% | 0.2252% | 0.2252% | 0% | 1.1261 | 2.027 | 2.5122 | 0.56306 | 0.045045 | 0 | 6.2734 | 239.1039 | 9305.6653 | 137.5806
|  |  | 38 | 1.096% | 3.289% | 96.71% | 0.2193% | 0.2193% | 0% | 1.0965 | 1.9737 | 2.5145 | 0.54825 | 0.04386 | 0 | 6.1768 | 242.846 | 9202.5847 | 138.6187
|  |  | 39 | 1.068% | 3.205% | 96.79% | 0.2137% | 0.2137% | 0% | 1.0684 | 1.9231 | 2.5167 | 0.53419 | 0.042735 | 0 | 6.085 | 246.5061 | 9101.7628 | 139.6181
|  |  | 40 | 1.042% | 3.125% | 96.88% | 0.2083% | 0.2083% | 0% | 1.0417 | 1.875 | 2.5188 | 0.52083 | 0.041667 | 0 | 5.9979 | 250.0868 | 9003.1261 | 140.5811
|  |  | 41 | 1.016% | 3.049% | 96.95% | 0.2033% | 0.2033% | 0% | 1.0163 | 1.8293 | 2.5207 | 0.50813 | 0.04065 | 0 | 5.915 | 253.5908 | 8906.6044 | 141.5094
|  |  | 42 | 0.9921% | 2.976% | 97.02% | 0.1984% | 0.1984% | 0% | 0.99206 | 1.7857 | 2.5226 | 0.49603 | 0.039683 | 0 | 5.8361 | 257.0205 | 8812.1303 | 142.4051
|  |  | 43 | 0.969% | 2.907% | 97.09% | 0.1938% | 0.1938% | 0% | 0.96899 | 1.7442 | 2.5244 | 0.4845 | 0.03876 | 0 | 5.7609 | 260.3781 | 8719.6394 | 143.2697
|  |  | 44 | 0.947% | 2.841% | 97.16% | 0.1894% | 0.1894% | 0% | 0.94697 | 1.7045 | 2.5261 | 0.47348 | 0.037879 | 0 | 5.689 | 263.666 | 8629.0698 | 144.1048
|  |  | 45 | 0.9259% | 2.778% | 97.22% | 0.1852% | 0.1852% | 0% | 0.92593 | 1.6667 | 2.5278 | 0.46296 | 0.037037 | 0 | 5.6204 | 266.8863 | 8540.3624 | 144.912
|  |  | 46 | 0.9058% | 2.717% | 97.28% | 0.1812% | 0.1812% | 0% | 0.9058 | 1.6304 | 2.5293 | 0.4529 | 0.036232 | 0 | 5.5547 | 270.0411 | 8453.4603 | 145.6926
|  |  | 47 | 0.8865% | 2.66% | 97.34% | 0.1773% | 0.1773% | 0% | 0.88652 | 1.5957 | 2.5309 | 0.44326 | 0.035461 | 0 | 5.4918 | 273.1323 | 8368.3089 | 146.4479
|  |  | 48 | 0.8681% | 2.604% | 97.4% | 0.1736% | 0.1736% | 0% | 0.86806 | 1.5625 | 2.5323 | 0.43403 | 0.034722 | 0 | 5.4316 | 276.1619 | 8284.8558 | 147.1791
|  |  | 49 | 0.8503% | 2.551% | 97.45% | 0.1701% | 0.1701% | 0% | 0.85034 | 1.5306 | 2.5337 | 0.42517 | 0.034014 | 0 | 5.3738 | 279.1316 | 8203.0508 | 147.8873
|  |  | 50 | 0.8333% | 2.5% | 97.5% | 0.1667% | 0.1667% | 0% | 0.83333 | 1.5 | 2.535 | 0.41667 | 0.033333 | 0 | 5.3183 | 282.0432 | 8122.8455 | 148.5737
|  |  | 51 | 0.817% | 2.451% | 97.55% | 0.1634% | 0.1634% | 0% | 0.81699 | 1.4706 | 2.5363 | 0.4085 | 0.03268 | 0 | 5.265 | 284.8985 | 8044.1934 | 149.2392
|  |  | 52 | 0.8013% | 2.404% | 97.6% | 0.1603% | 0.1603% | 0% | 0.80128 | 1.4423 | 2.5375 | 0.40064 | 0.032051 | 0 | 5.2138 | 287.699 | 7967.0499 | 149.8847
|  |  | 53 | 0.7862% | 2.358% | 97.64% | 0.1572% | 0.1572% | 0% | 0.78616 | 1.4151 | 2.5387 | 0.39308 | 0.031447 | 0 | 5.1645 | 290.4463 | 7891.3719 | 150.5112
|  |  | 54 | 0.7716% | 2.315% | 97.69% | 0.1543% | 0.1543% | 0% | 0.7716 | 1.3889 | 2.5398 | 0.3858 | 0.030864 | 0 | 5.117 | 293.1419 | 7817.118 | 151.1194
|  |  | 55 | 0.7576% | 2.273% | 97.73% | 0.1515% | 0.1515% | 0% | 0.75758 | 1.3636 | 2.5409 | 0.37879 | 0.030303 | 0 | 5.0712 | 295.7873 | 7744.2486 | 151.7102
|  |  | 56 | 0.744% | 2.232% | 97.77% | 0.1488% | 0.1488% | 0% | 0.74405 | 1.3393 | 2.542 | 0.37202 | 0.029762 | 0 | 5.0271 | 298.3838 | 7672.7251 | 152.2843
|  |  | 57 | 0.731% | 2.193% | 97.81% | 0.1462% | 0.1462% | 0% | 0.73099 | 1.3158 | 2.543 | 0.3655 | 0.02924 | 0 | 4.9845 | 300.9327 | 7602.5107 | 152.8423
|  |  | 58 | 0.7184% | 2.155% | 97.84% | 0.1437% | 0.1437% | 0% | 0.71839 | 1.2931 | 2.544 | 0.3592 | 0.028736 | 0 | 4.9434 | 303.4354 | 7533.5697 | 153.385
|  |  | 59 | 0.7062% | 2.119% | 97.88% | 0.1412% | 0.1412% | 0% | 0.70621 | 1.2712 | 2.5449 | 0.35311 | 0.028249 | 0 | 4.9037 | 305.8932 | 7465.8678 | 153.913
|  |  | 60 | 0.6944% | 2.083% | 97.92% | 0.1389% | 0.1389% | 0% | 0.69444 | 1.25 | 2.5458 | 0.34722 | 0.027778 | 0 | 4.8653 | 308.3072 | 7399.372 | 154.4269
|  |  | 61 | 0.6831% | 2.049% | 97.95% | 0.1366% | 0.1366% | 0% | 0.68306 | 1.2295 | 2.5467 | 0.34153 | 0.027322 | 0 | 4.8281 | 310.6785 | 7334.0501 | 154.9272
|  |  | 62 | 0.672% | 2.016% | 97.98% | 0.1344% | 0.1344% | 0% | 0.67204 | 1.2097 | 2.5476 | 0.33602 | 0.026882 | 0 | 4.7922 | 313.0084 | 7269.8715 | 155.4144
|  |  | 63 | 0.6614% | 1.984% | 98.02% | 0.1323% | 0.1323% | 0% | 0.66138 | 1.1905 | 2.5484 | 0.33069 | 0.026455 | 0 | 4.7574 | 315.2978 | 7206.8064 | 155.8891
|  |  | 64 | 0.651% | 1.953% | 98.05% | 0.1302% | 0.1302% | 0% | 0.65104 | 1.1719 | 2.5492 | 0.32552 | 0.026042 | 0 | 4.7237 | 317.5478 | 7144.8261 | 156.3518
|  |  | 65 | 0.641% | 1.923% | 98.08% | 0.1282% | 0.1282% | 0% | 0.64103 | 1.1538 | 2.55 | 0.32051 | 0.025641 | 0 | 4.691 | 319.7595 | 7083.9027 | 156.8028
|  |  | 66 | 0.6313% | 1.894% | 98.11% | 0.1263% | 0.1263% | 0% | 0.63131 | 1.1364 | 2.5508 | 0.31566 | 0.025253 | 0 | 4.6593 | 321.9338 | 7024.0095 | 157.2427
|  |  | 67 | 0.6219% | 1.866% | 98.13% | 0.1244% | 0.1244% | 0% | 0.62189 | 1.1194 | 2.5515 | 0.31095 | 0.024876 | 0 | 4.6286 | 324.0716 | 6965.1207 | 157.6718
|  |  | 68 | 0.6127% | 1.838% | 98.16% | 0.1225% | 0.1225% | 0% | 0.61275 | 1.1029 | 2.5522 | 0.30637 | 0.02451 | 0 | 4.5988 | 326.1739 | 6907.211 | 158.0905
|  |  | 69 | 0.6039% | 1.812% | 98.19% | 0.1208% | 0.1208% | 0% | 0.60386 | 1.087 | 2.5529 | 0.30193 | 0.024155 | 0 | 4.5698 | 328.2415 | 6850.2564 | 158.4992
|  |  | 70 | 0.5952% | 1.786% | 98.21% | 0.119% | 0.119% | 0% | 0.59524 | 1.0714 | 2.5536 | 0.29762 | 0.02381 | 0 | 4.5417 | 330.2752 | 6794.2333 | 158.8983
|  |  | 71 | 0.5869% | 1.761% | 98.24% | 0.1174% | 0.1174% | 0% | 0.58685 | 1.0563 | 2.5542 | 0.29343 | 0.023474 | 0 | 4.5143 | 332.276 | 6739.1191 | 159.2881
|  |  | 72 | 0.5787% | 1.736% | 98.26% | 0.1157% | 0.1157% | 0% | 0.5787 | 1.0417 | 2.5549 | 0.28935 | 0.023148 | 0 | 4.4877 | 334.2446 | 6684.8919 | 159.6688
|  |  | 73 | 0.5708% | 1.712% | 98.29% | 0.1142% | 0.1142% | 0% | 0.57078 | 1.0274 | 2.5555 | 0.28539 | 0.022831 | 0 | 4.4619 | 336.1818 | 6631.5305 | 160.0409
|  |  | 74 | 0.5631% | 1.689% | 98.31% | 0.1126% | 0.1126% | 0% | 0.56306 | 1.0135 | 2.5561 | 0.28153 | 0.022523 | 0 | 4.4367 | 338.0882 | 6579.0142 | 160.4046
|  |  | 75 | 0.5556% | 1.667% | 98.33% | 0.1111% | 0.1111% | 0% | 0.55556 | 1 | 2.5567 | 0.27778 | 0.022222 | 0 | 4.4122 | 339.9647 | 6527.3231 | 160.7602
|  |  | 76 | 0.5482% | 1.645% | 98.36% | 0.1096% | 0.1096% | 0% | 0.54825 | 0.98684 | 2.5572 | 0.27412 | 0.02193 | 0 | 4.3884 | 341.812 | 6476.438 | 161.108
|  |  | 77 | 0.5411% | 1.623% | 98.38% | 0.1082% | 0.1082% | 0% | 0.54113 | 0.97403 | 2.5578 | 0.27056 | 0.021645 | 0 | 4.3652 | 343.6307 | 6426.3401 | 161.4481
|  |  | 78 | 0.5342% | 1.603% | 98.4% | 0.1068% | 0.1068% | 0% | 0.53419 | 0.96154 | 2.5583 | 0.26709 | 0.021368 | 0 | 4.3425 | 345.4214 | 6377.0113 | 161.781
|  |  | 79 | 0.5274% | 1.582% | 98.42% | 0.1055% | 0.1055% | 0% | 0.52743 | 0.94937 | 2.5589 | 0.26371 | 0.021097 | 0 | 4.3205 | 347.1849 | 6328.434 | 162.1067
|  |  | 80 | 0.5208% | 1.562% | 98.44% | 0.1042% | 0.1042% | 0% | 0.52083 | 0.9375 | 2.5594 | 0.26042 | 0.020833 | 0 | 4.299 | 348.9217 | 6280.5912 | 162.4256
|  |  | 81 | 0.5144% | 1.543% | 98.46% | 0.1029% | 0.1029% | 0% | 0.5144 | 0.92593 | 2.5599 | 0.2572 | 0.020576 | 0 | 4.278 | 350.6325 | 6233.4664 | 162.7377
|  |  | 82 | 0.5081% | 1.524% | 98.48% | 0.1016% | 0.1016% | 0% | 0.50813 | 0.91463 | 2.5604 | 0.25407 | 0.020325 | 0 | 4.2575 | 352.3178 | 6187.0435 | 163.0435
|  |  | 83 | 0.502% | 1.506% | 98.49% | 0.1004% | 0.1004% | 0% | 0.50201 | 0.90361 | 2.5608 | 0.251 | 0.02008 | 0 | 4.2376 | 353.9781 | 6141.3069 | 163.343
|  |  | 84 | 0.496% | 1.488% | 98.51% | 0.09921% | 0.09921% | 0% | 0.49603 | 0.89286 | 2.5613 | 0.24802 | 0.019841 | 0 | 4.2181 | 355.6141 | 6096.2416 | 163.6364
|  |  | 85 | 0.4902% | 1.471% | 98.53% | 0.09804% | 0.09804% | 0% | 0.4902 | 0.88235 | 2.5618 | 0.2451 | 0.019608 | 0 | 4.199 | 357.2262 | 6051.8328 | 163.9239
|  |  | 86 | 0.4845% | 1.453% | 98.55% | 0.0969% | 0.0969% | 0% | 0.4845 | 0.87209 | 2.5622 | 0.24225 | 0.01938 | 0 | 4.1804 | 358.8151 | 6008.0664 | 164.2057
|  |  | 87 | 0.4789% | 1.437% | 98.56% | 0.09579% | 0.09579% | 0% | 0.47893 | 0.86207 | 2.5626 | 0.23946 | 0.019157 | 0 | 4.1623 | 360.3811 | 5964.9284 | 164.482
|  |  | 88 | 0.4735% | 1.42% | 98.58% | 0.0947% | 0.0947% | 0% | 0.47348 | 0.85227 | 2.5631 | 0.23674 | 0.018939 | 0 | 4.1445 | 361.9248 | 5922.4055 | 164.7529
|  |  | 89 | 0.4682% | 1.404% | 98.6% | 0.09363% | 0.09363% | 0% | 0.46816 | 0.8427 | 2.5635 | 0.23408 | 0.018727 | 0 | 4.1272 | 363.4466 | 5880.4846 | 165.0185
|  |  | 90 | 0.463% | 1.389% | 98.61% | 0.09259% | 0.09259% | 0% | 0.46296 | 0.83333 | 2.5639 | 0.23148 | 0.018519 | 0 | 4.1102 | 364.9471 | 5839.153 | 165.2791
|  |  | 91 | 0.4579% | 1.374% | 98.63% | 0.09158% | 0.09158% | 0% | 0.45788 | 0.82418 | 2.5643 | 0.22894 | 0.018315 | 0 | 4.0936 | 366.4266 | 5798.3983 | 165.5348
|  |  | 92 | 0.4529% | 1.359% | 98.64% | 0.09058% | 0.09058% | 0% | 0.4529 | 0.81522 | 2.5647 | 0.22645 | 0.018116 | 0 | 4.0774 | 367.8855 | 5758.2086 | 165.7857
|  |  | 93 | 0.448% | 1.344% | 98.66% | 0.08961% | 0.08961% | 0% | 0.44803 | 0.80645 | 2.5651 | 0.22401 | 0.017921 | 0 | 4.0615 | 369.3244 | 5718.5721 | 166.0319
|  |  | 94 | 0.4433% | 1.33% | 98.67% | 0.08865% | 0.08865% | 0% | 0.44326 | 0.79787 | 2.5654 | 0.22163 | 0.01773 | 0 | 4.0459 | 370.7437 | 5679.4776 | 166.2736
|  |  | 95 | 0.4386% | 1.316% | 98.68% | 0.08772% | 0.08772% | 0% | 0.4386 | 0.78947 | 2.5658 | 0.2193 | 0.017544 | 0 | 4.0307 | 372.1436 | 5640.914 | 166.5109
|  |  | 96 | 0.434% | 1.302% | 98.7% | 0.08681% | 0.08681% | 0% | 0.43403 | 0.78125 | 2.5661 | 0.21701 | 0.017361 | 0 | 4.0158 | 373.5247 | 5602.8706 | 166.7439
|  |  | 97 | 0.4296% | 1.289% | 98.71% | 0.08591% | 0.08591% | 0% | 0.42955 | 0.7732 | 2.5665 | 0.21478 | 0.017182 | 0 | 4.0012 | 374.8873 | 5565.3369 | 166.9727
|  |  | 98 | 0.4252% | 1.276% | 98.72% | 0.08503% | 0.08503% | 0% | 0.42517 | 0.76531 | 2.5668 | 0.21259 | 0.017007 | 0 | 3.9869 | 376.2317 | 5528.3027 | 167.1975
|  |  | 99 | 0.4209% | 1.263% | 98.74% | 0.08418% | 0.08418% | 0% | 0.42088 | 0.75758 | 2.5672 | 0.21044 | 0.016835 | 0 | 3.9729 | 377.5584 | 5491.7581 | 167.4183
|  |  | 100 | 0.4167% | 1.25% | 98.75% | 0.08333% | 0.08333% | 0% | 0.41667 | 0.75 | 2.5675 | 0.20833 | 0.016667 | 0 | 3.9592 | 378.8676 | 5455.6935 | 167.6352
|  |  | 101 | 0.4125% | 1.238% | 98.76% | 0.08251% | 0.08251% | 0% | 0.41254 | 0.74257 | 2.5678 | 0.20627 | 0.016502 | 0 | 3.9457 | 380.1598 | 5420.0995 | 167.8484
|  |  | 102 | 0.4085% | 1.225% | 98.77% | 0.0817% | 0.0817% | 0% | 0.4085 | 0.73529 | 2.5681 | 0.20425 | 0.01634 | 0 | 3.9325 | 381.4352 | 5384.967 | 168.058
|  |  | 103 | 0.4045% | 1.214% | 98.79% | 0.08091% | 0.08091% | 0% | 0.40453 | 0.72816 | 2.5684 | 0.20227 | 0.016181 | 0 | 3.9196 | 382.6941 | 5350.2869 | 168.264
|  |  | 104 | 0.4006% | 1.202% | 98.8% | 0.08013% | 0.08013% | 0% | 0.40064 | 0.72115 | 2.5688 | 0.20032 | 0.016026 | 0 | 3.9069 | 383.937 | 5316.0507 | 168.4665
|  |  | 105 | 0.3968% | 1.19% | 98.81% | 0.07937% | 0.07937% | 0% | 0.39683 | 0.71429 | 2.569 | 0.19841 | 0.015873 | 0 | 3.8944 | 385.1641 | 5282.2498 | 168.6657
|  |  | 106 | 0.3931% | 1.179% | 98.82% | 0.07862% | 0.07862% | 0% | 0.39308 | 0.70755 | 2.5693 | 0.19654 | 0.015723 | 0 | 3.8822 | 386.3756 | 5248.8761 | 168.8615
|  |  | 107 | 0.3894% | 1.168% | 98.83% | 0.07788% | 0.07788% | 0% | 0.38941 | 0.70093 | 2.5696 | 0.1947 | 0.015576 | 0 | 3.8702 | 387.5719 | 5215.9214 | 169.0541
|  |  | 108 | 0.3858% | 1.157% | 98.84% | 0.07716% | 0.07716% | 0% | 0.3858 | 0.69444 | 2.5699 | 0.1929 | 0.015432 | 0 | 3.8585 | 388.7533 | 5183.378 | 169.2436
|  |  | 109 | 0.3823% | 1.147% | 98.85% | 0.07645% | 0.07645% | 0% | 0.38226 | 0.68807 | 2.5702 | 0.19113 | 0.015291 | 0 | 3.8469 | 389.9201 | 5151.2381 | 169.4301
|  |  | 110 | 0.3788% | 1.136% | 98.86% | 0.07576% | 0.07576% | 0% | 0.37879 | 0.68182 | 2.5705 | 0.18939 | 0.015152 | 0 | 3.8356 | 391.0725 | 5119.4944 | 169.6135
|  |  | 111 | 0.3754% | 1.126% | 98.87% | 0.07508% | 0.07508% | 0% | 0.37538 | 0.67568 | 2.5707 | 0.18769 | 0.015015 | 0 | 3.8245 | 392.2107 | 5088.1395 | 169.794
|  |  | 112 | 0.372% | 1.116% | 98.88% | 0.0744% | 0.0744% | 0% | 0.37202 | 0.66964 | 2.571 | 0.18601 | 0.014881 | 0 | 3.8135 | 393.3352 | 5057.1663 | 169.9717
|  |  | 113 | 0.3687% | 1.106% | 98.89% | 0.07375% | 0.07375% | 0% | 0.36873 | 0.66372 | 2.5712 | 0.18437 | 0.014749 | 0 | 3.8028 | 394.446 | 5026.5679 | 170.1466
|  |  | 114 | 0.3655% | 1.096% | 98.9% | 0.0731% | 0.0731% | 0% | 0.3655 | 0.65789 | 2.5715 | 0.18275 | 0.01462 | 0 | 3.7923 | 395.5434 | 4996.3376 | 170.3187
|  |  | 115 | 0.3623% | 1.087% | 98.91% | 0.07246% | 0.07246% | 0% | 0.36232 | 0.65217 | 2.5717 | 0.18116 | 0.014493 | 0 | 3.7819 | 396.6277 | 4966.4687 | 170.4882
|  |  | 116 | 0.3592% | 1.078% | 98.92% | 0.07184% | 0.07184% | 0% | 0.3592 | 0.64655 | 2.572 | 0.1796 | 0.014368 | 0 | 3.7717 | 397.6991 | 4936.9548 | 170.6552
|  |  | 117 | 0.3561% | 1.068% | 98.93% | 0.07123% | 0.07123% | 0% | 0.35613 | 0.64103 | 2.5722 | 0.17806 | 0.014245 | 0 | 3.7617 | 398.7579 | 4907.7896 | 170.8195
|  |  | 118 | 0.3531% | 1.059% | 98.94% | 0.07062% | 0.07062% | 0% | 0.35311 | 0.63559 | 2.5725 | 0.17655 | 0.014124 | 0 | 3.7518 | 399.8042 | 4878.967 | 170.9815
|  |  | 119 | 0.3501% | 1.05% | 98.95% | 0.07003% | 0.07003% | 0% | 0.35014 | 0.63025 | 2.5727 | 0.17507 | 0.014006 | 0 | 3.7422 | 400.8384 | 4850.4809 | 171.1409
|  |  | 120 | 0.3472% | 1.042% | 98.96% | 0.06944% | 0.06944% | 0% | 0.34722 | 0.625 | 2.5729 | 0.17361 | 0.013889 | 0 | 3.7326 | 401.8605 | 4822.3256 | 171.2981
Note on A20: Todd: SBE5M - 9-18VDC; 95mA standard pump 300mA

## underway durafet
| sampling interval (s) | optode mA per measurement | mA required
| 5 | 240.16 | 2401600
36D-cell split into 3x12 (18V) packs
Pack 1
| D-Cell (mA*hr) | 12000
| Voltage | 1.5
| n cells | 4
| Vpackage | 6
| in parallel | 1
| capacity (mA*hr) | 12000
V | task | I (mA) | % time of 1 hr | avg current | avg I (mA) | capacity (day) | capacity (measurements)
| controller sleep | 1.2 | 0 | 0
| controller samp | 70 | 1 | 70
5-14V | optode | 250 | 0 | 0
9-18V | SBE 5M | 100 | 0 | 0
| micropump | 2000 | 0 | 0
| average current |  |  |  | 70 | 7.1429 | 171.4286
Note on C24: Todd: SBE5M - 9-18VDC; 95mA standard pump 300mA