## Slide 1: Flow Cytometry– Technology Review and State of the Art
Monterey Bay Aquarium Research Institute
Sept 10, 2014
Peter Lopez

## Slide 2: Flow Cytometry
A robust, mature technology for characterizing individual particles in fluid at a rapid rate (10’s of thousands of events per second)
Multiple discrete measurements can be measured from each particle--multiparametric
Parameters are typically derived optically– light scatter, fluorescence, although electrical impedance (Coulter volume) is available.
Fluorescence and Coulter volume measurements are very quantitative, light scatter semi-quantitative

## Slide 3: Typical Commercial Flow Cytometers
Particle size detection --minimum 0.2 microns.
Fluorescence detection limit– typically the equivalent of 50 fluorescent molecules of fluorescein.

## Slide 4: Flow Cytometer Flavors
Analytical flow cytometer (“analyzers”)
Cell sorters are analyzers that can purify rare subpopulations (<1%) viably to high purity (99%)

## Slide 5: Coulter Counter—First Commercial Analytical Flow Cytometer--1953
Notes: Patent 1953

## Slide 7
  Antigen density, immunofluorescence
  Fluorescent protein detection (GFP)
  DNA, RNA content, cell cycle
  Apoptosis
  Protein expression and total protein content
  Enzyme activity
  Molecular proximity (FRET)
  Membrane potential
  Cytokine receptors
  Microparticle/microvesicle detection and analysis
  Membrane fluidity – fluorescence polarization
  Drug uptake and efflux – multidrug resistance and “SP” cells
  Phagocytosis
  Viability
  Cell trafficking, tracking, proliferation
  Microbial, botanical and marine applications
  Changes in intracellular pH, calcium, glutathione
  Changes in oxidative burst
  Multiplexed bead assay– soluble
  Effector/target cell conjugate assay
  Cell secretion assay using gel microdrops
  Analysis of cellular organelles– mitochondria, chromosomes
Cytometric applications

## Slide 8: Flow Cytometry--State of the Art
Smaller systems– limited capability or specialized application
Acoustic focusing– for better alignment of particles in flow and improved CV
CyTOF– flow cytometry and mass spectroscopy combined
Spectral unmixing– a “new” method for multiple-color fluorescence detection
Large particle sorting
Imaging and real time image analysis in flow
Microfluidic applications
Flow cytometers in earth orbit

## Slide 9: Cell Sorting Latest Developments
Larger, Smaller, or Gentler

## Slide 10
4-way sorting

## Slide 11: Flow Cytometer – Cell Sorting

## Slide 12: Larger Particle Sorting—Union Biometrica “BioSorter”

## Slide 13: FAST MICROFLUIDIC SWITCH SORTING ~2,000 Ev/Sec
Core Flow Injector
Detection Region
Fast Particle Switch
Direction of Flow
12 mm
0.9 mm
Patented

## Slide 14: HIGH-THROUGHPUT THROUGH PARALLEL IMPLEMENTATION OF MICROSORTERS
72 sorters per chip
2,000 cells per second per sorter
142,000 cells per second

## Slide 15: Gentler Sorting

## Slide 16: Flow Cytometry and Marine Biology --cross pollination--
Needs of one field found solutions in the other, and vice versa
Examples:
  Need for multiple spectrally-distinct fluorescent compounds for labeling antibodies (immunology)
  Small particle detection (characterization of plankton hematologic microparticles)
  High resolution flow cytometry (slit-scan  CytoBuoy)
  Stable or inducible fluorescence (fluorescent proteins)
  Novel sample stream focusing (acoustic focusing virtual core)

## Slide 17: Flow Cytometry and Marine Biology --cross pollination--
Needs of one field found solutions in the other, and vice versa
Examples:
  Need for multiple spectrally-distinct fluorescent compounds for labeling antibodies (immunology)
  Small particle detection (characterization of plankton hematologic microparticles)
  High resolution flow cytometry (slit-scan  CytoBuoy)
  Stable or inducible fluorescence (fluorescent proteins)
  Novel sample stream focusing (acoustic focusing virtual core)

## Slide 20
RPE-iFluor™ 647 Tandem
RPE-iFluor™ 750 Tandem

## Slide 21
PerCP (Peridinin-chlorophyll-protein complex)
From marine dinoflagellate Amphidinium carterae
Notes: cyanobacteria and in the chloroplasts of glaucophytes and red algae.
phycoerythrin -> phycocyanin -> allophycocyanin -> chlorophyll a.
The marine dinoflagellate Amphidinium carterae

## Slide 22: Flow Cytometry and Marine Biology --cross pollination--
Needs of one field found solutions in the other, and vice versa
Examples:
  Need for multiple spectrally-distinct fluorescent compounds for labeling antibodies (immunology)
  Small particle detection (characterization of plankton hematologic microparticles)
  High resolution flow cytometry (slit-scan  CytoBuoy)
  Stable or inducible fluorescence (fluorescent proteins)
  Novel sample stream focusing (acoustic focusing virtual core)

## Slide 23
Sizing of three planktonic groups using Coulter Counter techniques.
Yentsch C S , and Yentsch C M J. Plankton Res. 2008;30:107-117
© The Author 2007. Published by Oxford University Press. All rights reserved. For permissions, please email: journals.permissions@oxfordjournals.org
Notes: Sizing of three planktonic groups using Coulter Counter techniques. Note that to achieve the total range the flow tubes have of different apertures. Redrawn from Sheldon and Parsons (Sheldon and Parsons, 1967).

## Slide 24
RJ Olson, SW Chisholm, SL Frankel, and HM Shapiro (1983). An inexpensive flow cytometer for the analysis of fluorescence signals in phytoplankton: Chlorophyll and DNA distributions. J. Exp. Marine Biology Ecol. 68:129-144.
SW Chisholm, RJ Olson, ER Zettler, R Goericke, J Waterbury, and N Welschmeyer (1988). A novel free-living prochlorophyte abundant in the oceanic euphotic zone. Nature 334(6180): 340-343.
RJ Olson, D Vaulot, and SW Chisholm (1986). Effects of environmental stresses on the cell cycle of two marine phytoplankton species. Plant Physiology 80:918-925.
RJ Olson, D Vaulot, and SW Chisholm (1985). Marine phytoplankton distributions measured using shipboard flow cytometry. Deep-Sea Research 32:1273-1280.
Prochlorococcus
Notes: Prochlorococcus 0.6um

## Slide 25
Figure 1 The formation and release of MPs, exosomes and apoptotic bodies
Beyer, C. & Pisetsky, D. S. (2009) The role of microparticles in the pathogenesis of rheumatic diseases
Nat. Rev. Rheumatol. doi:10.1038/nrrheum.2009.229

## Slide 26: Flow Cytometry and Marine Biology --cross pollination--
Needs of one field found solutions in the other, and vice versa
Examples:
  Need for multiple spectrally-distinct fluorescent compounds for labeling antibodies (immunology)
  Small particle detection (characterization of marine cyanobacteria hematologic microparticles)
  High resolution flow cytometry (slit-scan  CytoBuoy)
  Stable or inducible fluorescence (fluorescent proteins)
  Novel sample stream focusing (acoustic focusing virtual core)

## Slide 27: Laser focal point larger than cell
http://regmed.musc.edu/flowcytometry/flowcytometry.html

## Slide 28
Slit Scan Flow Cytometry—’70s

## Slide 31: Flow Cytometry and Marine Biology --cross pollination--
Needs of one field found solutions in the other, and vice versa
Examples:
  Need for multiple spectrally-distinct fluorescent compounds for labeling antibodies (immunology)
  Small particle detection (characterization of plankton hematologic microparticles)
  High resolution flow cytometry (slit-scan  CytoBuoy)
  Stable or inducible fluorescence (fluorescent proteins)
  Novel sample stream focusing (acoustic focusing virtual core)

## Slide 32: Crystal Jellies
Notes: Steve Haddock

## Slide 34: Flow Cytometry and Marine Biology --cross pollination--
Needs of one field found solutions in the other, and vice versa
Examples:
  Need for multiple spectrally-distinct fluorescent compounds for labeling antibodies (immunology)
  Small particle detection (characterization of plankton hematologic microparticles)
  High resolution flow cytometry (slit-scan  CytoBuoy)
  Stable or inducible fluorescence (fluorescent proteins)
  Novel sample stream focusing (acoustic focusing virtual core)

## Slide 36: Acoustic focusing in a flow cell Invitrogen “Attune”
Hydrodynamic focusing
Acoustic focusing

## Slide 41
Becton Dickinson Accuri
Handyem HPC-100
Partec Cube
Miltenyi MACSQuant
Millipore Guava
Orflo Moxi Flow

## Slide 43
CyTOF® 2

## Slide 45
Sony Spectral Analyzer

## Slide 46
Spectral Signatures

## Slide 47: Amnis ImageStream

## Slide 50
Notes: Chris Hadfield with INO Flow Cytometer aboard ISS

## Slide 51: Thanks
Gerald Gregori, Université de la Méditerranée, Marseilles, France
NYULMC Flow Cytometry Core Staff
James Bellingham and MBARI