Eye In The Sea – MARS

Logfile Key  [30 August, 2007]

Header Data:

· Mission Start Time & Date

· Deployment Site Description
· Dive Number/Name

· Other Notes

· Bait Description

· Illuminator 1 Description

· Illuminator 2 Description

· Illuminator 3 Description

· Illuminator 4 Description

· Illuminator 5 Description

Column Data:

1. Date (dd/mm/yyyy)

2. Time (hh:mm:ss)

3. Block (-1-n)

4. Mode (0-8)

5. Event Type

6. Depth (m)

7. Temperature (ºC)

8. Salinity (PSU)

9. Frame Direction (º)

10. Camera Direction (º)

11. Pan Angle (º)

12. Tilt Angle (º)

13. Roll Angle (º)

14. Pitch Angle (º)

15. Current Direction (º)

16. Horizontal Current Speed (m/s)

17. Vertical Current Speed (m/s)

18. PMT Gain (V)

19. PMT Signal (V)

20. PMT Trigger Threshold (V)

21. Hydrophone Power (1/0)

22. Illuminator 1 Power (1/0)

23. Illuminator 2 Power (1/0)

24. Illuminator 3 Power (1/0)

25. Illuminator 4 Power (1/0)

26. Illuminator 5 Power (1/0)

27. Laser Power (1/0)

28. Antifouling Pump Power (1/0)

29. eJelly Mode (0-7)

30. Programmable Flash On Time (ms)

31. Programmable Flash Off Time (ms)

32. Video File Path (absolute path)

33. Audio File Path (absolute path)

Block Modes:

0. OFF

1. Timed

2. Biolum Triggered

3. Timed & Biolum Triggered

4. Video Triggered

5. Timed & Video Triggered

6. Audio Triggered

7. Timed & Audio Triggered

8. Antifouling

eJelly Modes:

0. OFF

1. Dim Constant Single LED

2. Bright Constant Single LED

3. Programmable Flash – Single Bright LED

4. Programmable Flash – Outer Ring

5. Programmable Flash – Both Rings

6. Pinwheel – Outer Ring

7. Pinwheel – Both Rings

Event Types:

0. OFF

1. Timed Trigger

2. Biolum Trigger

3. Video Trigger

4. Audio Trigger

5. Illumination change

6. Laser change

7. Video settings change

8. Audio settings change

9. PMT settings change
10. eJelly change

11. Pan & Tilt move/stop

12. Antifouling Pump on/off

13. Start video recording

14. Stop video recording

15. Start audio recording

16. Stop audio recording

17. Hydrophone on/off

18. Periodic event

19. PMT Overvoltage

