October 18, 2011

Things we may want to do for next ESP Drifter deployment

- Hardware

  - Real grapple line

  - Fix load cell connector issue

  - New tower (maybe 4 legged)

  - Mount elex box vertically

  - Modify battery channels to accept rechargeable battery also

  - Pre-stress the E/M cable and characterize torque vs tension

  - Make sure we have a big cable cutter on board for emergencies

- Software

  - Add esp accel – buoy accel arithmetic (include time difference)

  - Add auto call, auto switch iridium/avalan

  - Check accelerometer statistics

  - Longer range Ethernet radios

  - Make PCs able to share files on network

  - Time server that synchs all computers and maybe contextual sensors

  - Simplify network (static IP, no router, no wireless???)

  - Easier changes to configuration

  - Integrate PAR into data stream

  - Fix possible PAR control C issue

- Electrical

  - Resettable fuses?

  - Make 2nd battery connector bins not hot

  - Integrate accelerometer into ESP lose the Moxa and Ethernet extender

  - Incorporate POE to Iridium box

- Spares

  - Accelerometer

  - Load cell

  - Load cell cables

  - Min k cable top and bottom

  - Battery cables

  - Iridium cable

  - Avalan cable

- Labview

  - Integrate chart (w/correct aspect ratio?)

  - Include additional outputs as standard choices

  - Clean up front panel and block diagram

  - Get higher res 2nd monitor

  - Add parsing for additional port “configurations”

- ESP

  - Build a cooling jacket w/air conditioner

  - Make 2nd battery connector pins not hot

  - Can dessicant be added for warm water deployments in an effective way?

  - Do array/PCR assay checks in N2 atmosphere- test assays’ temperature + humidity limits

- Deployment

  - Add contextual sensor + other relevant (e.g. drifter buoy) checks to current ESP canning/deployment checklist